## Project Scope
Traditional Desktops to be Converted to Virtual Desktop Infrastructure (VDI)
Group 1 | Group 2 | Group 3 | Group 4 | Group 5 | Group 6 | Project scope (units)
3000 | 0 | 0 | 0 | 0 | 0 | 3000
Change me
Note:
Identify different desktop usage patterns and group desktops into up to six groups. Each group can be
mapped to different machine configurations (e.g. with different ram, cpu or disk requirements)
Summary:
|  |  | solution TCO (3yr) | desktop brand | server brand
| Traditional desktop |  | 3183084 | DELL | -
| VDI Desktop (x86 Thin Client) |  | 2910382.6951 | Neoware | IBM
| VDI desktop (Power Thin Client) |  | 2481934.6951 | Genesi | IBM
| TCO savings winner (3yr) |  | 701149.3049 | Genesi | IBM
TCO evolution:

## Assumptions & comments
Assumptions & Comments
Reduction on listprices IBM Servers |  |  | 30%
Reduction on listprices Genesi Thin Clients |  |  | 0%
Reduction on listprices Neoware Thin Clients |  |  | 0%
Reduction on listprices DELL Desktops |  |  | 10%
Reduction on listprices Lenovo Desktops |  |  | 10%
Reduction on listprices VMWare |  |  | 15%
Reduction on listprices Leostream |  |  | 20%
Reduction on listprices Citrix |  |  | 10%
Reduction on listprices Microsoft |  |  | 5%
Average load of a non virtualized server (power consumption) |  |  | 15%
Average load of a virtualized server (power consumption) |  |  | 60%
Average load of a desktop (power consumption) |  |  | 15%
Average storage in use per desktop |  |  | 15%
Relative sizing ratio of VS to VI |  |  | 60%
Number of desktops per DS4200 (8TB - virtual storage) |  |  | 333.3333
Number of hours in 3 Years (24*365*3) |  |  | 26280
Number of Vmware ESX sockets managed by a VC Management Server |  |  | 50
Size of virtual disk per desktop (gigabyte) |  |  | 160
Development cost |  |  | 500000
Prices do not include VAT
Note:
2-way servers - 2 GigE ports
4-way servers - 4 GigE ports
server & storage prices include 24/7 4 hour response time support
TCO overview:
| month | hours | TCO traditional | TCO vdi (x86 Thin Client) | TCO vdi (Power Thin Client) | TCO difference (x86 TC vs Tr. D) | TCO difference (Power TC vs Tr. D) | TCO vdi (Power + development) | TCO difference (Power TC +DevCost vs x86 TC)
|  |  | 3183084 | 2910382.6951 | 2481934.6951 | 272701.3049 | 701149.3049
| 1 | 730 | 1834044 | 2524455.3187 | 2264637.3187 | -690411.3187 | -430593.3187 | 2764637.3187 | -240182
| 2 | 1460 | 1872588 | 2535481.8152 | 2270845.8152 | -662893.8152 | -398257.8152 | 2770845.8152 | -235364
| 3 | 2190 | 1911132 | 2546508.3116 | 2277054.3116 | -635376.3116 | -365922.3116 | 2777054.3116 | -230546
| 4 | 2920 | 1949676 | 2557534.8081 | 2283262.8081 | -607858.8081 | -333586.8081 | 2783262.8081 | -225728
| 5 | 3650 | 1988220 | 2568561.3046 | 2289471.3046 | -580341.3046 | -301251.3046 | 2789471.3046 | -220910
| 6 | 4380 | 2026764 | 2579587.801 | 2295679.801 | -552823.801 | -268915.801 | 2795679.801 | -216092
| 7 | 5110 | 2065308 | 2590614.2975 | 2301888.2975 | -525306.2975 | -236580.2975 | 2801888.2975 | -211274
| 8 | 5840 | 2103852 | 2601640.794 | 2308096.794 | -497788.794 | -204244.794 | 2808096.794 | -206456
| 9 | 6570 | 2142396 | 2612667.2904 | 2314305.2904 | -470271.2904 | -171909.2904 | 2814305.2904 | -201638
| 10 | 7300 | 2180940 | 2623693.7869 | 2320513.7869 | -442753.7869 | -139573.7869 | 2820513.7869 | -196820
| 11 | 8030 | 2219484 | 2634720.2834 | 2326722.2834 | -415236.2834 | -107238.2834 | 2826722.2834 | -192002
| 12 | 8760 | 2258028 | 2645746.7798 | 2332930.7798 | -387718.7798 | -74902.7798 | 2832930.7798 | -187184
| 13 | 9490 | 2296572 | 2656773.2763 | 2339139.2763 | -360201.2763 | -42567.2763 | 2839139.2763 | -182366
| 14 | 10220 | 2335116 | 2667799.7728 | 2345347.7728 | -332683.7728 | -10231.7728 | 2845347.7728 | -177548
| 15 | 10950 | 2373660 | 2678826.2692 | 2351556.2692 | -305166.2692 | 22103.7308 | 2851556.2692 | -172730
| 16 | 11680 | 2412204 | 2689852.7657 | 2357764.7657 | -277648.7657 | 54439.2343 | 2857764.7657 | -167912
| 17 | 12410 | 2450748 | 2700879.2622 | 2363973.2622 | -250131.2622 | 86774.7378 | 2863973.2622 | -163094
| 18 | 13140 | 2489292 | 2711905.7587 | 2370181.7587 | -222613.7587 | 119110.2413 | 2870181.7587 | -158276
| 19 | 13870 | 2527836 | 2722932.2551 | 2376390.2551 | -195096.2551 | 151445.7449 | 2876390.2551 | -153458
| 20 | 14600 | 2566380 | 2733958.7516 | 2382598.7516 | -167578.7516 | 183781.2484 | 2882598.7516 | -148640
| 21 | 15330 | 2604924 | 2744985.2481 | 2388807.2481 | -140061.2481 | 216116.7519 | 2888807.2481 | -143822
| 22 | 16060 | 2643468 | 2756011.7445 | 2395015.7445 | -112543.7445 | 248452.2555 | 2895015.7445 | -139004
| 23 | 16790 | 2682012 | 2767038.241 | 2401224.241 | -85026.241 | 280787.759 | 2901224.241 | -134186
| 24 | 17520 | 2720556 | 2778064.7375 | 2407432.7375 | -57508.7375 | 313123.2625 | 2907432.7375 | -129368
| 25 | 18250 | 2759100 | 2789091.2339 | 2413641.2339 | -29991.2339 | 345458.7661 | 2913641.2339 | -124550
| 26 | 18980 | 2797644 | 2800117.7304 | 2419849.7304 | -2473.7304 | 377794.2696 | 2919849.7304 | -119732
| 27 | 19710 | 2836188 | 2811144.2269 | 2426058.2269 | 25043.7731 | 410129.7731 | 2926058.2269 | -114914
| 28 | 20440 | 2874732 | 2822170.7233 | 2432266.7233 | 52561.2767 | 442465.2767 | 2932266.7233 | -110096
| 29 | 21170 | 2913276 | 2833197.2198 | 2438475.2198 | 80078.7802 | 474800.7802 | 2938475.2198 | -105278
| 30 | 21900 | 2951820 | 2844223.7163 | 2444683.7163 | 107596.2837 | 507136.2837 | 2944683.7163 | -100460
| 31 | 22630 | 2990364 | 2855250.2127 | 2450892.2127 | 135113.7873 | 539471.7873 | 2950892.2127 | -95642
| 32 | 23360 | 3028908 | 2866276.7092 | 2457100.7092 | 162631.2908 | 571807.2908 | 2957100.7092 | -90824
| 33 | 24090 | 3067452 | 2877303.2057 | 2463309.2057 | 190148.7943 | 604142.7943 | 2963309.2057 | -86006
| 34 | 24820 | 3105996 | 2888329.7021 | 2469517.7021 | 217666.2979 | 636478.2979 | 2969517.7021 | -81188
| 35 | 25550 | 3144540 | 2899356.1986 | 2475726.1986 | 245183.8014 | 668813.8014 | 2975726.1986 | -76370
| 36 | 26280 | 3183084 | 2910382.6951 | 2481934.6951 | 272701.3049 | 701149.3049 | 2981934.6951 | -71552
| 37 | 27010 | 3221628 | 2921409.1915 | 2488143.1915 | 300218.8085 | 733484.8085 | 2988143.1915 | -66734
| 38 | 27740 | 3260172 | 2932435.688 | 2494351.688 | 327736.312 | 765820.312 | 2994351.688 | -61916
| 39 | 28470 | 3298716 | 2943462.1845 | 2500560.1845 | 355253.8155 | 798155.8155 | 3000560.1845 | -57098
| 40 | 29200 | 3337260 | 2954488.681 | 2506768.681 | 382771.319 | 830491.319 | 3006768.681 | -52280
| 41 | 29930 | 3375804 | 2965515.1774 | 2512977.1774 | 410288.8226 | 862826.8226 | 3012977.1774 | -47462
| 42 | 30660 | 3414348 | 2976541.6739 | 2519185.6739 | 437806.3261 | 895162.3261 | 3019185.6739 | -42644
| 43 | 31390 | 3452892 | 2987568.1704 | 2525394.1704 | 465323.8296 | 927497.8296 | 3025394.1704 | -37826
| 44 | 32120 | 3491436 | 2998594.6668 | 2531602.6668 | 492841.3332 | 959833.3332 | 3031602.6668 | -33008
| 45 | 32850 | 3529980 | 3009621.1633 | 2537811.1633 | 520358.8367 | 992168.8367 | 3037811.1633 | -28190
| 46 | 33580 | 3568524 | 3020647.6598 | 2544019.6598 | 547876.3402 | 1024504.3402 | 3044019.6598 | -23372
| 47 | 34310 | 3607068 | 3031674.1562 | 2550228.1562 | 575393.8438 | 1056839.8438 | 3050228.1562 | -18554
| 48 | 35040 | 3645612 | 3042700.6527 | 2556436.6527 | 602911.3473 | 1089175.3473 | 3056436.6527 | -13736
| 49 | 35770 | 3684156 | 3053727.1492 | 2562645.1492 | 630428.8508 | 1121510.8508 | 3062645.1492 | -8918
| 50 | 36500 | 3722700 | 3064753.6456 | 2568853.6456 | 657946.3544 | 1153846.3544 | 3068853.6456 | -4100
| 51 | 37230 | 3761244 | 3075780.1421 | 2575062.1421 | 685463.8579 | 1186181.8579 | 3075062.1421 | 718
| 52 | 37960 | 3799788 | 3086806.6386 | 2581270.6386 | 712981.3614 | 1218517.3614 | 3081270.6386 | 5536
| 53 | 38690 | 3838332 | 3097833.135 | 2587479.135 | 740498.865 | 1250852.865 | 3087479.135 | 10354
| 54 | 39420 | 3876876 | 3108859.6315 | 2593687.6315 | 768016.3685 | 1283188.3685 | 3093687.6315 | 15172
| 55 | 40150 | 3915420 | 3119886.128 | 2599896.128 | 795533.872 | 1315523.872 | 3099896.128 | 19990
| 56 | 40880 | 3953964 | 3130912.6244 | 2606104.6244 | 823051.3756 | 1347859.3756 | 3106104.6244 | 24808
| 57 | 41610 | 3992508 | 3141939.1209 | 2612313.1209 | 850568.8791 | 1380194.8791 | 3112313.1209 | 29626
| 58 | 42340 | 4031052 | 3152965.6174 | 2618521.6174 | 878086.3826 | 1412530.3826 | 3118521.6174 | 34444
| 59 | 43070 | 4069596 | 3163992.1138 | 2624730.1138 | 905603.8862 | 1444865.8862 | 3124730.1138 | 39262
| 60 | 43800 | 4108140 | 3175018.6103 | 2630938.6103 | 933121.3897 | 1477201.3897 | 3130938.6103 | 44080
| 61 | 44530 | 4146684 | 3186045.1068 | 2637147.1068 | 960638.8932 | 1509536.8932 | 3137147.1068 | 48898
| 62 | 45260 | 4185228 | 3197071.6033 | 2643355.6033 | 988156.3967 | 1541872.3967 | 3143355.6033 | 53716
| 63 | 45990 | 4223772 | 3208098.0997 | 2649564.0997 | 1015673.9003 | 1574207.9003 | 3149564.0997 | 58534
| 64 | 46720 | 4262316 | 3219124.5962 | 2655772.5962 | 1043191.4038 | 1606543.4038 | 3155772.5962 | 63352
| 65 | 47450 | 4300860 | 3230151.0927 | 2661981.0927 | 1070708.9073 | 1638878.9073 | 3161981.0927 | 68170
| 66 | 48180 | 4339404 | 3241177.5891 | 2668189.5891 | 1098226.4109 | 1671214.4109 | 3168189.5891 | 72988
| 67 | 48910 | 4377948 | 3252204.0856 | 2674398.0856 | 1125743.9144 | 1703549.9144 | 3174398.0856 | 77806
| 68 | 49640 | 4416492 | 3263230.5821 | 2680606.5821 | 1153261.4179 | 1735885.4179 | 3180606.5821 | 82624
| 69 | 50370 | 4455036 | 3274257.0785 | 2686815.0785 | 1180778.9215 | 1768220.9215 | 3186815.0785 | 87442
| 70 | 51100 | 4493580 | 3285283.575 | 2693023.575 | 1208296.425 | 1800556.425 | 3193023.575 | 92260
| 71 | 51830 | 4532124 | 3296310.0715 | 2699232.0715 | 1235813.9285 | 1832891.9285 | 3199232.0715 | 97078
| 72 | 52560 | 4570668 | 3307336.5679 | 2705440.5679 | 1263331.4321 | 1865227.4321 | 3205440.5679 | 101896
| 73 | 53290 | 4609212 | 3318363.0644 | 2711649.0644 | 1290848.9356 | 1897562.9356 | 3211649.0644 | 106714
| 74 | 54020 | 4647756 | 3329389.5609 | 2717857.5609 | 1318366.4391 | 1929898.4391 | 3217857.5609 | 111532
| 75 | 54750 | 4686300 | 3340416.0573 | 2724066.0573 | 1345883.9427 | 1962233.9427 | 3224066.0573 | 116350
| 76 | 55480 | 4724844 | 3351442.5538 | 2730274.5538 | 1373401.4462 | 1994569.4462 | 3230274.5538 | 121168
| 77 | 56210 | 4763388 | 3362469.0503 | 2736483.0503 | 1400918.9497 | 2026904.9497 | 3236483.0503 | 125986
| 78 | 56940 | 4801932 | 3373495.5467 | 2742691.5467 | 1428436.4533 | 2059240.4533 | 3242691.5467 | 130804
| 79 | 57670 | 4840476 | 3384522.0432 | 2748900.0432 | 1455953.9568 | 2091575.9568 | 3248900.0432 | 135622
| 80 | 58400 | 4879020 | 3395548.5397 | 2755108.5397 | 1483471.4603 | 2123911.4603 | 3255108.5397 | 140440
| 81 | 59130 | 4917564 | 3406575.0362 | 2761317.0362 | 1510988.9638 | 2156246.9638 | 3261317.0362 | 145258
| 82 | 59860 | 4956108 | 3417601.5326 | 2767525.5326 | 1538506.4674 | 2188582.4674 | 3267525.5326 | 150076
| 83 | 60590 | 4994652 | 3428628.0291 | 2773734.0291 | 1566023.9709 | 2220917.9709 | 3273734.0291 | 154894
| 84 | 61320 | 5033196 | 3439654.5256 | 2779942.5256 | 1593541.4744 | 2253253.4744 | 3279942.5256 | 159712
| 85 | 62050 | 5071740 | 3450681.022 | 2786151.022 | 1621058.978 | 2285588.978 | 3286151.022 | 164530
| 86 | 62780 | 5110284 | 3461707.5185 | 2792359.5185 | 1648576.4815 | 2317924.4815 | 3292359.5185 | 169348
| 87 | 63510 | 5148828 | 3472734.015 | 2798568.015 | 1676093.985 | 2350259.985 | 3298568.015 | 174166
| 88 | 64240 | 5187372 | 3483760.5114 | 2804776.5114 | 1703611.4886 | 2382595.4886 | 3304776.5114 | 178984
| 89 | 64970 | 5225916 | 3494787.0079 | 2810985.0079 | 1731128.9921 | 2414930.9921 | 3310985.0079 | 183802
| 90 | 65700 | 5264460 | 3505813.5044 | 2817193.5044 | 1758646.4956 | 2447266.4956 | 3317193.5044 | 188620
| 91 | 66430 | 5303004 | 3516840.0008 | 2823402.0008 | 1786163.9992 | 2479601.9992 | 3323402.0008 | 193438
| 92 | 67160 | 5341548 | 3527866.4973 | 2829610.4973 | 1813681.5027 | 2511937.5027 | 3329610.4973 | 198256
| 93 | 67890 | 5380092 | 3538892.9938 | 2835818.9938 | 1841199.0062 | 2544273.0062 | 3335818.9938 | 203074
| 94 | 68620 | 5418636 | 3549919.4902 | 2842027.4902 | 1868716.5098 | 2576608.5098 | 3342027.4902 | 207892
| 95 | 69350 | 5457180 | 3560945.9867 | 2848235.9867 | 1896234.0133 | 2608944.0133 | 3348235.9867 | 212710
| 96 | 70080 | 5495724 | 3571972.4832 | 2854444.4832 | 1923751.5168 | 2641279.5168 | 3354444.4832 | 217528

## Server TCO Results Absolute
Server TCO results, absolute price figures
|  | nCPU |  | TCO
BLADE TECHNOLOGY
Non-virtualized achitecture 1:1
| Bare metal Windows Server | 1 |  | 17910228.5657
|  | 2 |  | 26039857.8557
|  | 4 |  | 69333633.5143
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 |  | 1879959.8062
|  | 4 |  | 2204933.3163
| VMware ESX Standard Edition + VC Management Server | 2 | 146926.3521 | 1616848.6951
|  | 4 | 170031.4809 | 1941822.2052
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 EE | 2 |  | 2327917.3863
|  | 4 |  | 2593490.114
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | 7715784.0356 | 1537144.0914
|  | 4 | 487933.283 | 1975858.3301
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platinum Edition | 2 | 7715784.0356 | 1999184.9668
|  | 4 | 487933.283 | 2434385.3349
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | 7715784.0356 | 801240.9434
|  | 4 | 487933.283 | 1018841.1274
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
Non-virtualized achitecture 1:1
| Bare metal Windows Server | 1 |  | 22131254.8029
|  | 2 |  | 28846373.6229
|  | 4 |  | 69816095.7943
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 |  | 1985522.306
|  | 4 |  | 2211926.8373
| VMware ESX Standard Edition + VC Management Server | 2 | TBD | 1722411.1949
|  | 4 | TBD | 1948815.7262
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 EE | 2 |  | 2495575.4743
|  | 4 |  | 2604934.0574
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | TBD | 1679653.4661
|  | 4 | TBD | 1985299.5834
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platimum Edition | 2 | TBD | 2139510.7551
|  | 4 | TBD | 2446446.8919
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | TBD | 871403.8376
|  | 4 | TBD | 1024871.9059
Note:
Server Infrastructure TCO includes: Software, Hardware, Power consumption, Cooling, HW/SW support contracts, rack space
Server Infrastructure TCO does not include: Desktop infrastructure related costs, Installation, administration, maintenance

## Desktop TCO Results Absolute
Desktop TCO results, absolute price figures
|  |  |  | UAT/PROD |  |  |  | DEV/TEST |  |  |  | Total Prices
|  | nCPU | TCO | MAIL | DB |  | WEB | MAIL | DB | tPAT | tDET | tPAT + tDET | tALL
THIN TECHNOLOGY
| Genesi Open Client | [11 empty] | #VALUE!
| Embedded Linux OS | 1 | 865086 |  |  |  | #VALUE! | #VALUE! |  | 865086 | #VALUE! | #VALUE!
Neoware e140
| Embedded Linux OS | 1 | 1293534 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
TRADITIONAL DESKTOP TECHNOLOGY
| DELL Workstation | [11 empty] | #VALUE!
| Windows XP Professional | 1 | 3183084 |  |  |  | #VALUE! | #VALUE! |  | 3183084 | #VALUE! | #VALUE!
Lenovo Workstation
| Windows XP Professional | 1 | 4111032 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Note:
Desktop Infrastructure TCO includes: Software, Hardware, Power consumption, Cooling, HW/SW support contracts
Desktop Infrastructure TCO does not include: Server infrastructure related costs, Installation, administration, maintenance

## Hardware Mapping
Hardware Mapping
|  | nCPU | G1 | G2 | G3 | G4 | G5 | G6 | Scope | nBladeChassis | nServers | neNETp | nFCp | nCPUs | nUnits | nRacks
BLADE TECHNOLOGY
| Non-virtualized achitecture 1:1 | [8 empty] | 215 | 3000 | 6430 | 6000 | 3000 |  | 65
| Bare metal Windows Server | 1 | 3000 | 0 | 0 | 0 | 0 | 0 | 3000 | 215 |  |  |  | 3000 | 1928.5714
|  | 2 | [7 empty] | 0 |  |  |  | 0 | 0
|  | 4 | [7 empty] | 0 |  |  |  | 0 | 0
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 | 111.1111 | 0 | 0 | 0 | 0 | 0 | 111.1111 | 8 | 111.1111 | 238.2222 | 222.2222 | 222.2222 | 71.4286 | 3
|  | 4 | 55.5556 | 0 | 0 | 0 | 0 | 0 | 55.5556 | 8 | 55.5556 | 238.2222 | 111.1111 | 222.2222 | 71.4286 | 3
| VMware ESX Standard Edition + VC Management Server | 2 | 111.1111 | 0 | 0 | 0 | 0 | 0 | 111.1111 | 8 | 111.1111 | 238.2222 | 222.2222 | 222.2222 | 71.4286 | 3
|  | 4 | 55.5556 | 0 | 0 | 0 | 0 | 0 | 55.5556 | 8 | 55.5556 | 238.2222 | 111.1111 | 222.2222 | 71.4286 | 3
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 Server EE | 2 | 176.4706 | 0 | 0 | 0 | 0 | 0 | 176.4706 | 13 | 176.4706 | 378.9412 | 352.9412 | 352.9412 | 113.4454 | 4
|  | 4 | 90.9091 | 0 | 0 | 0 | 0 | 0 | 90.9091 | 13 | 90.9091 | 389.6364 | 181.8182 | 363.6364 | 116.8831 | 4
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | TBD | TBD | TBD | TBD | TBD | TBD | 150 | 11 | 150 | 322 | 300 | 300 | 96.4286 | 4
|  | 4 | TBD | TBD | TBD | TBD | TBD | TBD | 75 | 11 | 75 | 322 | 150 | 300 | 96.4286 | 4
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platinum Edition | 2 | 150 | 0 | 0 | 0 | 0 | 0 | 150 | 11 | 150 | 322 | 300 | 300 | 96.4286 | 4
|  | 4 | 75 | 0 | 0 | 0 | 0 | 0 | 75 | 6 | 75 | 312 | 150 | 300 | 96.4286 | 4
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | TBD | TBD | TBD | TBD | TBD | TBD | 75 | 6 | 75 | 162 | 150 | 150 | 48.2143 | 2
|  | 4 | TBD | TBD | TBD | TBD | TBD | TBD | 37.5 | 6 | 37.5 | 162 | 75 | 150 | 48.2143 | 2
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
| Non-virtualized achitecture 1:1 | [9 empty] | 3000 | 9000 | 6000 | 3000 |  | 229
| Bare metal Windows Server | 1 | 3000 | 0 | 0 | 0 | 0 | 0 | 3000 |  |  |  |  | 3000 | 6857.1429
|  | 2 | [11 empty] | 0 | 0
|  | 4 | [11 empty] | 0 | 0
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 | 111.1111 | 0 | 0 | 0 | 0 | 0 | 111.1111 |  | 111.1111 | 333.3333 | 222.2222 | 222.2222 | 253.9683 | 9
|  | 4 | 55.5556 | 0 | 0 | 0 | 0 | 0 | 55.5556 |  | 55.5556 | 277.7778 | 111.1111 | 222.2222 | 246.0317 | 9
| VMware ESX Standard Edition + VC Management Server | 2 | 111.1111 | 0 | 0 | 0 | 0 | 0 | 111.1111 |  | 111.1111 | 222.2222 | 222.2222 | 222.2222 | 253.9683 | 9
|  | 4 | 55.5556 | 0 | 0 | 0 | 0 | 0 | 55.5556 |  | 55.5556 | 222.2222 | 111.1111 | 222.2222 | 246.0317 | 9
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 Server EE | 2 | 176.4706 | 0 | 0 | 0 | 0 | 0 | 176.4706 |  | 176.4706 | 529.4118 | 352.9412 | 352.9412 | 403.3613 | 14
|  | 4 | 90.9091 | 0 | 0 | 0 | 0 | 0 | 90.9091 |  | 90.9091 | 454.5455 | 181.8182 | 363.6364 | 402.5974 | 14
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | TBD | TBD | TBD | TBD | TBD | TBD | 150 |  | 150 | 300 | 300 | 300 | 342.8571 | 12
|  | 4 | TBD | TBD | TBD | TBD | TBD | TBD | 75 |  | 75 | 300 | 150 | 300 | 332.1429 | 12
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platinum Edition | 2 | 150 | 0 | 0 | 0 | 0 | 0 | 150 |  | 150 | 450 | 300 | 300 | 342.8571 | 12
|  | 4 | 75 | 0 | 0 | 0 | 0 | 0 | 75 |  | 75 | 375 | 150 | 300 | 332.1429 | 12
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | TBD | TBD | TBD | TBD | TBD | TBD | 75 |  | 75 | 150 | 150 | 150 | 171.4286 | 6
|  | 4 | TBD | TBD | TBD | TBD | TBD | TBD | 37.5 |  | 37.5 | 150 | 75 | 150 | 166.0714 | 6
Note:
neNETp= Network ports, management ports included, uplinks to core switches not included
nFCp= Fibrechannel ports

## Unit Price (Server)
Unit price figures for physical or virtual machines (server only)
[8 empty] | UAT/PROD |  |  | DEV/TEST
|  | nCPU | HW | Storage | vSW | HW + vSW | Unit Price | MAIL | DB | WEB | MAIL | DB
BLADE TECHNOLOGY
Non-virtualized achitecture 1:1
| Bare metal Windows Server | 1 | 5918.7105 | 51.3656 | 0 | 5970.0762 | 5970.0762 |  |  | 5918.7105 | 5918.7105
|  | 2 | 8628.587 | 51.3656 | 0 | 8679.9526 | 8679.9526 | 8628.587 |  |  |  | 8628.587
|  | 4 | 23059.8455 | 51.3656 | 0 | 23111.2112 | 23111.2112 |  | 23059.8455
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 | 8665.486 | 1386.8723 | 6867.28 | 16919.6383 | 626.6533 | 16919.6383 | 16919.6383 | 16919.6383 | 16919.6383 | 16919.6383
|  | 4 | 23180.4951 | 2773.7446 | 13734.56 | 39688.7997 | 734.9778 | 39688.7997 | 39688.7997 | 39688.7997 | 39688.7997 | 39688.7997
| VMware ESX Standard Edition + VC Management Server | 2 | 8665.486 | 1386.8723 | 4499.28 | 14551.6383 | 538.9496 | 14551.6383 | 14551.6383 | 14551.6383 | 14551.6383 | 14551.6383
|  | 4 | 23180.4951 | 2773.7446 | 8998.56 | 34952.7997 | 647.2741 | 34952.7997 | 34952.7997 | 34952.7997 | 34952.7997 | 34952.7997
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 EE | 2 | 8665.486 | 873.2159 | 3652.83 | 13191.5319 | 775.9725 | 13191.5319 | 13191.5319 | 13191.5319 | 13191.5319 | 13191.5319
|  | 4 | 23180.4951 | 1695.0661 | 3652.83 | 28528.3913 | 864.4967 | 28528.3913 | 28528.3913 | 28528.3913 | 28528.3913 | 28528.3913
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | 8665.486 | 1027.3128 | 554.8285 | 10247.6273 | 512.3814
|  | 4 | 23180.4951 | 2054.6256 | 1109.657 | 26344.7777 | 658.6194
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platinum Edition | 2 | 8628.587 | 1027.3128 | 3672 | 13327.8998 | 666.395
|  | 4 | 23059.8455 | 2054.6256 | 7344 | 32458.4711 | 811.4618
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | 8628.587 | 2054.6256 | 0 | 10683.2126 | 267.0803
|  | 4 | 23059.8455 | 4109.2512 | 0 | 27169.0967 | 339.6137
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
Non-virtualized achitecture 1:1
| Bare metal Windows Server | 1 | 7325.7193 | 51.3656 | 0 | 7377.0849 | 7377.0849 |  |  | 7325.7193 | 7325.7193
|  | 2 | 9564.0922 | 51.3656 | 0 | 9615.4579 | 9615.4579 | 9564.0922 |  |  |  | 9564.0922
|  | 4 | 23220.6663 | 51.3656 | 0 | 23272.0319 | 23272.0319 |  | 23220.6663
Virtualized achitecture with VI
| VMware ESX v3 in Enterprise Edition + VC Management Server | 2 | 9615.5485 | 1386.8723 | 6867.28 | 17869.7008 | 661.8408 | 17869.7008 | 17869.7008 | 17869.7008 | 17869.7008 | 17869.7008
|  | 4 | 23306.3785 | 2773.7446 | 13734.56 | 39814.6831 | 737.3089 | 39814.6831 | 39814.6831 | 39814.6831 | 39814.6831 | 39814.6831
| VMware ESX Standard Edition + VC Management Server | 2 | 9615.5485 | 1386.8723 | 4499.28 | 15501.7008 | 574.1371 | 15501.7008 | 15501.7008 | 15501.7008 | 15501.7008 | 15501.7008
|  | 4 | 23306.3785 | 2773.7446 | 8998.56 | 35078.6831 | 649.6052 | 35078.6831 | 35078.6831 | 35078.6831 | 35078.6831 | 35078.6831
Virtualized achitecture with VS
| Microsoft Virtual Server 2005 R2 on Windows 2003 EE | 2 | 9615.5485 | 873.2159 | 3652.83 | 14141.5944 | 831.8585 | 14141.5944 | 14141.5944 | 14141.5944 | 14141.5944 | 14141.5944
|  | 4 | 23306.3785 | 1695.0661 | 3652.83 | 28654.2746 | 868.3114 | 28654.2746 | 28654.2746 | 28654.2746 | 28654.2746 | 28654.2746
Non-virtualized architecture TS
| Microsoft Terminal Server | 2 | 9615.5485 | 1027.3128 | 554.8285 | 11197.6898 | 559.8845
|  | 4 | 23306.3785 | 2054.6256 | 1109.657 | 26470.6611 | 661.7665
Non-virtualized architecture Citrix
| Citrix Presentation Server 4.5 Platinum Edition | 2 | 9564.0922 | 1027.3128 | 3672 | 14263.405 | 713.1703
|  | 4 | 23220.6663 | 2054.6256 | 7344 | 32619.2919 | 815.4823
Non-virtualized architecture LTSP
| LTSP Terminal Server | 2 | 9564.0922 | 2054.6256 | 0 | 11618.7178 | 290.4679
|  | 4 | 23220.6663 | 4109.2512 | 0 | 27329.9175 | 341.624
Note:
Does not include Desktop Infrastructure

## Unit Price (Desktop)
Unit price figures for physical or virtual machines (desktop only)
[8 empty] | UAT/PROD |  |  | DEV/TEST
|  | nCPU | HW | SW | HW + SW | Unit Price | BRAND | MAIL | DB | WEB | MAIL | DB
THIN TECHNOLOGY
Genesi Open Client
| Embedded Linux OS | 1 | 288.362 | 0 | 288.362 | 288.362 | Genesi |  |  | 288.362 | 288.362
Neoware c50
| Embedded Linux OS | 1 | 431.178 | 0 | 431.178 | 431.178 | Neoware | 431.178 | 431.178 | 431.178 | 431.178 | 431.178
TRADITIONAL DESKTOP TECHNOLOGY
DELL Workstation
| Windows XP Professional | 1 | 1061.028 | 0 | 1061.028 | 1061.028 | DELL |  |  | 1061.028 | 1061.028
Lenovo Workstation
| Windows XP Professional | 1 | 1370.344 | 0 | 1370.344 | 1370.344 | Lenovo | 1370.344 | 1370.344 | 1370.344 | 1370.344 | 1370.344
Note:
TCO prices include power consumption, etc.
Does not include server infrastructure

## Sizing virtualization
Max number of Desktops per server
| nCPU | RAM GB | Setting | MAIL | DB | WEB | MAIL | DB | Max
Non-virtualized architecture 1:1
Bare Metal Windows Server | 2 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| 4 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Virtualized achitecture with VI
VMware ESX v3 in Enterprise Edition + VC Management Server | 2 | 10 | 27 | 1 | 1 | 1 | 1 | 1 | 32
| 4 | 18 | 54 | 1 | 1 | 1 | 1 | 1 | 64
VMware ESX Standard Edition + VC Management Server | 2 | 10 | 29 | 1 | 1 | 1 | 1 | 1 | 32
| 4 | 18 | 58 | 1 | 1 | 1 | 1 | 1 | 64
Virtualized achitecture with VS
Microsoft Virtual Server 2005 R2 on Windows 2003 Server EE | 2 | 10 | 17 | 1 | 1 | 1 | 1 | 1 | 32
| 4 | 18 | 33 | 1 | 1 | 1 | 1 | 1 | 64
Non-virtualized architecture TS
Microsoft Terminal Server | 2 | 10 | 20 | 1 | 1 | 1 | 1 | 1 | 20
| 4 | 18 | 40 | 1 | 1 | 1 | 1 | 1 | 40
Non-virtualized architecture Citrix
Citrix Presentation Server 4.5 Platinum Edition | 2 | 10 | 20 | 1 | 1 | 1 | 1 | 1 | 30
| 4 | 18 | 40 | 1 | 1 | 1 | 1 | 1 | 60
Non-virtualized architecture LTSP
LTSP Terminal Server | 2 | 10 | 40 | 1 | 1 | 1 | 1 | 1 | 50
| 4 | 18 | 80 | 1 | 1 | 1 | 1 | 1 | 100

## Genesi Open Client
| Genesi |  |  |  |  | Invoice
bplan Gmbh
Industriestraße 23
61449 Steinbach
| Germany |  |  |  |  | TBD
Name
Phone:
Fax:
Email:
| Invoice Number: 0000XX |  |  |  |  | Date: 03/12/2007
| Your VAT |  |  | Expedition |  |  |  | Payment
| taxfree when VAT provided |  |  | FedEx Shipping provided |  |  |  | Wire transfer
| Quantity |  | DESCRIPTION |  |  | List Price. in Euros |  | List Total in Euros
| 1 |  | EFIKA Open Client |  |  | 245 |  | 245
Power Architecture CPU (400mhz) - 1 Watt max power consumption
IDE FlashCard 128M for system boot
ATI radeon 9250 with 64M Video Ram
128M DDR ram
Optical audio out (SPDIF), AC92 sound (in/out)
IRIS Linux Operating System (10 Megabyte)
VDI compatible connection software (Leostream)
2 x USB1 port
1 x serial port
black system enclosure
picoPSU ATX psu
External Power Brick (EU)
1 x DVI port with VGA convertor (1600x1200)
Fully assembled, tested and shipped
Standard two year guarantee
Typ. Power conumption 10 Watt
[5 empty] | Adjusted TOTAL Price (incl shipping) |  |  | 245
[7 empty] | Typical Power Consumption | 15 | [1]
Note:
| [1] | The MPC5200b Power Architecture microprocessor is a System-On-Chip (SoC) solution with a maximum power consumption of 1 Watt.
Company details:
bplan GmbH
Handelsregisternummer AG Bad Homburg v.d. Höhe
HRB 9507
Ust-IdNr:
DE 213708917
WEEE-Reg.-Nr:
DE 42199045

## Neoware e140
NEOWARE e140 Thin Client
VIA Eden processor 800mhz
4 x USB2 ports
DVI / VGA - 1280x1024 - not 3D capable
Audio in / audio out
Internal speaker
Serial port
Parallel port
PS/2 ports
PCI slot option
VDI compliant (Leostream)
100mbit ethernet
64M IDE flash
128M RAM memory
Neoware Linux Software
Typical power consumption | 35
listprice including shipping | 330
adjusted price | 330

## DELL Optiplex 740
DELL OptiPlex 740 Business Desktop
AMD Athlon X2 3800
512M 667 non-ECC SDRAM
160G hard drive
Audio in / audio out
Serial port
Parallel port
PS/2 ports
3 x PCIe slot option
2 x USB2
100mbit ethernet
3 year business support (next day)
Maximum power consumption | 305
Typical power consumption | 195
listprice including shipping | 665
adjusted price | 598.5

## Price per physical server
Price per physical server, price of the HW, cost of switch ports, cost of rack space and cost of all power consumption included
| nCPU | Server (incl Enclosure) | FC switch sw ports | eNet sw ports | Power Cons. (3y Yr) | Rackspace (3Yr) | Price | Price/pCPU
BLADE TECHNOLOGY
Non-virtualized achitecture:
| 1 | 3684.6 | 1322 | 524 | 388.1105 | 0 | 5918.7105 | 5918.7105
| 2 | 6119.2 | 1322 | 524 | 663.387 | 0 | 8628.587 | 4314.2935
| 4 | 18960.5 | 1842 | 1048 | 1209.3455 | 0 | 23059.8455 | 5764.9614
Virtualized achitecture:
| 2 | 6119.2 | 1322 | 524 | 700.286 | 0 | 8665.486 | 4332.743
| 4 | 18960.5 | 1842 | 1048 | 1329.9951 | 0 | 23180.4951 | 5795.1238
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
Non-virtualized achitecture:
| 1 | 5662.3 | 834 | 236 | 593.4193 | 0 | 7325.7193 | 7325.7193
| 2 | 7689.5 | 834 | 236 | 804.5922 | 0 | 9564.0922 | 4782.0461
| 4 | 20388.2 | 834 | 472 | 1526.4663 | 0 | 23220.6663 | 5805.1666
Virtualized achitecture:
| 2 | 7689.5 | 834 | 236 | 856.0485 | 0 | 9615.5485 | 4807.7742
| 4 | 20388.2 | 834 | 472 | 1612.1785 | 0 | 23306.3785 | 5826.5946
cost of maintenance of HW is not taken into consideration
all other costs are calculated on 3 Yrs (e.g. Services Vmware = 3 year contract)

## Price per physical desktop
Price per physical desktop, price of the HW and cost of all power consumption included
| nCPU | Hardware | Power Consumption (3y Yr) | Price | Price/pCPU
THIN TECHNOLOGY
Genesi Open Client
| 1 | 245 | 43.362 | 288.362 | 288.362
Neoware e140
| 1 | 330 | 101.178 | 431.178 | 431.178
TRADITIONAL DESKTOP TECHNOLOGY
DELL Workstation
| 1 | 598.5 | 462.528 | 1061.028 | 1061.028
Lenovo Workstation
| 1 | 850 | 520.344 | 1370.344 | 1370.344
cost of maintenance of HW is not taken into consideration
all other costs are calculated on 3 Yrs (e.g. Power Consumption)

## PowerOverview
Power needed per type of physical server (adjusted with power needed for switches (& blade enclosure) )
|  | Watt Idle Power | Watt Measured Power | Watt AVG Power | BTU Idle Power | BTU Measured Power | BTU AVG Power
BLADE TECHNOLOGY
Non-virtualized achitecture:
| 1-way DC | 123.9286 | 192.7857 | 134.2571 | 422.5714 | 657.3571 | 457.7893
| 2-way DC | 213.3571 | 320.8571 | 229.4821 | 727.5714 | 657.3571 | 717.0393
| 4-way DC | 388 | 590.2857 | 418.3429 | 1323.1429 | 2013.1429 | 1426.6429
Virtualized achitecture:
| 2-way DC | 225.2857 | 338.3571 | 242.2464 | 768.2143 | 1153.7143 | 999.5143
| 4-way DC | 430.1429 | 629.7143 | 460.0786 | 1466.8571 | 2147.2857 | 1568.9214
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
Server
Non-virtualized achitecture:
| 1-way DC | 187.4286 | 306.4286 | 205.2786 | 576 | 982 | 636.9
| 2-way DC | 253.4286 | 419.4286 | 278.3286 | 801 | 982 | 828.15
| 4-way DC | 503.1429 | 669.1429 | 528.0429 | 1616 | 2183 | 1701.05
Virtualized achitecture:
| 2-way DC | 269.4286 | 447.4286 | 296.1286 | 798 | 1362 | 1136.4
| 4-way DC | 531.1429 | 708.1429 | 557.6929 | 1712 | 2315 | 2073.8
Idle Power: |  |  | Power drawn with the machine(s) logged into the OS, and no other applications running.
Memory, HDDs, optical drives, & tape drives are not being utilized.
Measured Max Power: |  |  | Maximum measured power is the power drawn by the machine with the CPUs 100%
utilized & memory is utilized 10% more than base utilization. The exerciser used is
Prime95 (torture test) and can be downloaded from www.mersenne.org.
Calculation of Watt AVG power consumption
avg power of a non virtualized machine: |  |  | Idle + ((Measured - Idle)*% avg load of a non virtualized machine)
avg power of a virtualized machine: |  |  | Idle + ((Measured - Idle)*% avg load of a virtualized machine)
Power consumption of shared devices like blade enclosure and switches (integrated or stand alone) is included!
used avg load of a non virtualized machine |  |  | 15%
used avg load of a virtualized machine |  |  | 60%

## RackUseOverview
Rack use per server type
|  | Rack Units | Adjusted Rack Units
BLADE TECHNOLOGY
Non-virtualized achitecture:
| 1-way DC |  | 0.64286
| 2-way DC |  | 0.64286
| 4-way DC |  | 1.2857
Virtualized achitecture:
| 2-way DC |  | 0.64286
| 4-way DC |  | 1.2857
TRADITIONAL RACK OPTIMIZED TECHNOLOGY
Non-virtualized achitecture:
| 1-way DC | 2 | 2.2857
| 2-way DC | 2 | 2.2857
| 4-way DC | 4 | 4.4286
Virtualized achitecture:
| 2-way DC | 2 | 2.2857
| 4-way DC | 4 | 4.4286
Calculations & Adjustments
Rack Units Blades
Bladecenter H = 9 units (4 switches incl.)
1-way and 2-way blades: 1 bay -> 9/14
4-way blades: 2 bays -> 9/7
Rack Units Rackmounted servers
adjustments needed for Blades who 'pays' for rack space of integrated switches

## Price Pow-Rack
Data Center Configuration
Data Center Size | 550 m2 | square meters
Rent | 0 | € / square meter / month
Price per Rack | 0 | floorspace x rent
Price per rack-unit | 0 | per month
Price per rack-unit | 0 | per 3 years
Power consumption | 100 | € / square meter / month
Electricity cost (€ / 1 KWh) | 0.11 | 0,07c/KWh + 30% airco
Rack Configuration
Manufacturer | Minkels
Size | 100 x 80 x 227
Power requirements | 3 redundant circuits
Floorspace | 3 m2 | needed per rack
Units per rack | 30 | 46 units high, x used

## Leostream Broker
Used costs of Leostream Connection Broker
% Discount software on listprice | 20%
Type | Leostream Software | Price Leostream Licenses | Adjusted Price Citrix Licenses
Leostream VDI connection broker client license
| Connection broker | 75 | 60
| Numer of Licenses | 3000
| Total Price | 180000

## MS TS
Used costs of Microsoft Terminal Server
% Discount software on listprice | 5%
Type | Microsoft Software | Price Microsoft Licenses | Adjusted Price Microsoft Licenses
Microsoft Terminal Server 2003
| Terminal Server 2003 20 user license | 584.03 | 554.8285
| Total cost per desktop |  | 27.7414

## Ctirix PS
Used costs of Citrix Presentation Server 4.5, Platinum Edition
% Discount software on listprice | 10%
Type | Citrix Software | Price Citrix Licenses | Adjusted Price Citrix Licenses
Presentation Server 4.5, Platinum Edition
| Presentation Server client | 204 | 183.6
| Number of licenses | 3000
| Total Price | 550800

## VI SE
Used costs of VMware Virtualization Software, Standard Edition
% Discount software on listprice | 15%
[6 empty] | 2-way | 4-way
Type | VMware Software | Price VMWare Licenses | Adjusted Price VMware Licenses | Price 1 Yr Gold SnS | Price VMware Licenses + 3 Yr Gold SnS | Price per CPU for VMware Licenses + 3 Yr Gold SnS
Virtual Center Management server 2 / pCPU
| Server license | 4000 | 3400 | 840 | 5920 | 26.64 | 26.64
VMware Infrastructure 3 / CPU
| Standard Edition 2CPU | 3000 | 2550 | 632 | 4446 | 2223 | 2223
[5 empty] | total/cpu | 2249.64 | 2249.64
2-way price with VC, 3 Yr Gold SnS included | 4499.28
4-way price with VC, 3 Yr Gold SnS included | 8998.56

## VI HA
Reference cost of VMware Virtualization Software, Standard Edition + High Availability
% Discount software on listprice | 15%
[6 empty] | 2-way | 4-way
Type | VMware Software | Price VMWare Licenses | Adjusted Price VMware Licenses | Price 1 Yr Gold SnS | Price VMware Licenses + 3 Yr Gold SnS | Price per CPU for VMware Licenses + 3 Yr Gold SnS | Price per CPU for VMware Licenses + 3 Yr Gold SnS
Virtual Center Management server 2 / pCPU
| Server license | 4000 | 3400 | 840 | 5920 | 26.64 | 26.64
VMware Infrastructure 3 / CPU
| Standard Edition 2CPU | 3000 | 2550 | 632 | 4446 | 2223 | 2223
| High Availabilty Component 2CPU | 1600 | 1360 | 336 | 2368 | 1184 | 1184
[5 empty] | total/cpu | 3433.64 | 3433.64
2-way price with VC, 3 Yr Gold SnS included | 6867.28
4-way price with VC, 3 Yr Gold SnS included | 13734.56
This worksheet is not used in the calulations.
Just to show that the price of "Standard + HA" is the same then "Enterprise" Edition 'full version'

## VI EE
Used costs of VMware Virtualization Software, Enterprise Edition
% Discount software on listprice | 15%
[6 empty] | 2-way | 4-way
Type | VMware Software | Price VMWare Licenses | Adjusted Price VMware Licenses | Price 1 Yr Gold SnS | Price VMware Licenses + 3 Yr Gold SnS | Price per CPU for VMware Licenses + 3 Yr Gold SnS | Price per CPU for VMware Licenses + 3 Yr Gold SnS
Virtual Center Management server 2 / pCPU
50 | Server license | 4000 | 3400 | 840 | 5920 | 26.64 | 26.64
VMware Infrastructure 3 / CPU
| Enterprise Edition 2CPU | 4600 | 3910 | 968 | 6814 | 3407 | 3407
[5 empty] | total/cpu | 3433.64 | 3433.64
2-way price with VC, 3 Yr Gold SnS included | 6867.28
4-way price with VC, 3 Yr Gold SnS included | 13734.56

## VS DE
Referenced "cost" of Microsoft Virtualization Software with Windows 2003 Datacenter Edition as host
price Select contract LEVEL D
Type | Microsoft Software | Description Software product + Lic/SA |  | Price Microsoft Licenses, incl. 2Yr Lic/SA | Price Microsoft Licenses of 1 Yr Lic/SA | Price Microsoft Licenses, 3 Yr Lic/SA
Microsoft Windows Datacenter Edition Server 2003 R2 x64 | Host License
|  |  |  | 2484 | 1242 | 3726
Microsoft Virtual Server 2005 R2
| Application license |  |  | 0 | 0 | 0
3726
2-way price, 3 Yr SA included: | 7452
4-way price, 3 Yr SA included: | 14904
min Windows SE VMs per CPU to justify 1 DC license | 3.3155 |  | -> easy to repay with a 2-way or 4-way

## VS EE
h
price Select contract LEVEL D
Type | Microsoft Software | Description Software product + Lic/SA | Price Microsoft Licenses, incl. 2Yr Lic/SA | Price Microsoft Licenses of 1 Yr Lic/SA | Price Microsoft Licenses, 3 Yr Lic/SA
Microsoft Windows Enterprise Edition Server 2003 R2 x64 | Host License
|  |  | 2435.22 | 1217.61 | 3652.83
Microsoft Virtual Server 2005 R2
| Application license |  | 0 | 0 | 0
3652.83
Adjusted with - '4 x price of SE'
2-way price, 3 Yr SA included: | -842.37
4-way price, 3 Yr SA included: | -842.37

## VS SE
Referenced "cost" of Microsoft Guest O2 Software, Windows 2003 Standard Edition
price Select contract LEVEL D
Type | Microsoft Software | Description Software product + Lic/SA | Price Microsoft Licenses, incl. 2Yr Lic/SA | Price Microsoft Licenses of 1 Yr Lic/SA | Price Microsoft Licenses, 3 Yr Lic/SA
Microsoft Windows Standard Edition Server 2003 R2 x64 | Host License / CPU
|  |  | 749.2 | 374.6 | 1123.8
Microsoft Virtual Server 2005 R2
| Application license |  | 0 | 0 | 0
1123.8
2-way price, 3 Yr SA included: | 1123.8
4-way price, 3 Yr SA included: | 1123.8

## Cisco BC eNet sw
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (per unit) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro | Euro
eNet Switch |  | CISCO eNet BC Copper Switch, Layer 2 for IBM Bladecenter
Added 10/10/2006 15:32:57
32R1892 | 7971-6AY | Cisco Systems GbE Switch Module for IBM BladeCenter | 1 | 5240 | 5240 |  | 3668 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
|  |  |  | Total | 5240 |  | 3668
----------> price of an eNET port: total price switch,divided by 14 (4 uplink ports) | [6 empty] | 262

## Cisco SA eNet sw
Part No. |  | Description | Qty | Estimated Selling Price | Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
CISCO eNet BC Copper Switch, Layer 2 , Stand Alone (SA)
| 7971-6AY | CISCO Catalyst 2960g Switch 20x 10/100/1000 Gbit Enet 4x Dual Purpose Gbit Enet Uplink 1x Sfp Gbit Enet | 1 | 1650 | 1650 | 1650 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
WSC2960G24TCL
|  |  |  | Total | 1650 | 1650
----------> price of an eNET port: total price switch,divided by 14 (10 uplink ports, for comparison) | [5 empty] | 118
SW4120, 16P, 2-P/S, 16 SFP, Rack Mt kit, AWT, ADZ

## SAN IBM DS4200 - 4TB
IBM Standalone Solutions Quote
| Prepared for: | Prepared by:
| Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. |  | Price File Date: 14 February 2007
Part No. | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted Price | Adjusted Price
|  |  | (per unit) | (quanty x unit price) | (per unit) | (quanty x unit price)
|  |  | Euro | Euro | Euro | Euro
Misc | Config 1
Added 3/16/2007 12:28:13 PM
18147VH | Express DS4200 Model 7V | 1 | 5480 | 5480 | 3836 | 3836
Internal Storage
42D0389 | DS4200 SATA 500 GB/7.2K EV-DDM | 8 | 790 | 6320 | 553 | 4424
43X3552 | 3 Year Onsite Repair 9x5 4 Hour Response | 0 | 1810 |  | 1267
43X3553 | 3 Year Onsite Repair 24x7 4 Hour Response | 1 | 1990 | 1990 | 1393 | 1393
39M5696 | 1m Fiber Optic Cable LC-LC | 2 | 52 | 104 | 36.4 | 72.8
39M6046 | DS4200 VMware ESX Host Kit | 1 | 799 | 799 | 559.3 | 559.3
42D3254 | DS4200 2-4 Stg. Part.- Fld | 1 | 969 | 969 | 678.3 | 678.3
|  |  | Total | 15662 |  | 11830.64
|  |  | Power consumption (Operational) |  |  | 300
|  |  | Power consumption cost (3yr) |  |  | 867.24

## SAN IBM DS4200 - 8TB
IBM Standalone Solutions Quote
| Prepared for: | Prepared by:
| Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. |  | Price File Date: 14 February 2007
Part No. | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted Price | Adjusted Price
|  |  | (per unit) | (quanty x unit price) | (per unit) | (quanty x unit price)
|  |  | Euro | Euro | Euro | Euro
Misc | Config 1
Added 3/16/2007 12:28:13 PM
18147VH | Express DS4200 Model 7V | 1 | 5480 | 5480 | 3836 | 3836
Internal Storage
42D0389 | DS4200 SATA 500 GB/7.2K EV-DDM | 16 | 790 | 12640 | 553 | 8848
43X3552 | 3 Year Onsite Repair 9x5 4 Hour Response | 0 | 1810 |  | 1267
43X3553 | 3 Year Onsite Repair 24x7 4 Hour Response | 1 | 1990 | 1990 | 1393 | 1393
39M5696 | 1m Fiber Optic Cable LC-LC | 2 | 52 | 104 | 36.4 | 72.8
39M6046 | DS4200 VMware ESX Host Kit | 1 | 799 | 799 | 559.3 | 559.3
42D3254 | DS4200 2-4 Stg. Part.- Fld | 1 | 969 | 969 | 678.3 | 678.3
|  |  | Total | 21982 |  | 17121.88
|  |  | Power consumption (Operational) |  |  | 600
|  |  | Power consumption cost (3yr) |  |  | 1734.48

## Brocade BC 20 FC sw
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
Brocade FC BC Switch, 4Gbit for IBM Bladecenter (20-port)
BC Switch |  | Brocade IBM BC Switch
Added 02/11/2006 15:32:57
32R1812 | 7971-6AY | Brocade(R) 20-port 4 Gb SAN Switch Module for IBM BladeCenter | 1 | 12387 | 12387 | 8670.9 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
22R4902 | 0 | 4 Gbps SW SFP Transceiver | 6 | 138 | 828 | 579.6
|  |  |  | Total | 13215 | 9250.5
----------> price of a FC-port: total price switch, divided by 14 ( 6 uplink ports) | [5 empty] | 661
connection to the storage server is not included

## Brocade BC 10 FC sw
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
Brocade FC BC Switch, 4Gbit for IBM Bladecenter (10-port)
BC Switch |  | Brocade IBM BC Switch
Added 02/11/2006 15:32:57
32R1813 | 7971-6AY | Brocade(R) 10-port 4 Gb SAN Switch Module for IBM BladeCenter | 1 | 8800 | 8800 | 6160 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
22R4902 | 0 | 4 Gbps SW SFP Transceiver | 3 | 138 | 414 | 289.8
|  |  |  | Total | 9214 | 6449.8
----------> price of a FC-port: total price switch, divided by 7 ( 3 uplink ports) | [5 empty] | 921
connection to the storage server is not included

## Brocade SA FC sw
Part No. |  | Description | Qty | Estimated Selling Price | Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
IBM FC Switch, 4Gbit, Stand Alone (SA) with Brocade Chipset
200516B | 2005-16B | Express, IBM TotalStorage SAN16B-2 | 1 | 4310 | 4310 | 3017
22R5332 |  | Express, 16B Model 4-Port Upgrade | 2 | 2010 | 4020 | 2814
|  |  |  | Total | 8330 | 5831
----------> price of a FC-port: total price switch, divided by 14 (2 uplink ports) | [5 empty] | 417
connection to the storage server is not included
SW4120, 16P, 2-P/S, 16 SFP, Rack Mt kit, AWT, ADZ

## LS21-1-4
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
LS21 Blade Configuration_C |  | L21 VDI 1-way 4GB RAM
Added 10/10/2006 15:32:57
79716AG | 7971-6AY | LS21, AMD Opteron Dual Core 2218 2.6GHz/1GHz, 1 MB L2, 2x1 GB, O/Bay SAS | 1 | 3330 | 3330 | 2331 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
25R8897 |  | AMD Opteron Dual Core Processor Model 2218 2.6GHz, 1MB L2 Cache, 95w | 0 | 1660 |  |  | 25R8897 | PRC | 37875 | UN | XS | Floor\Slot-Bay
39M5864 | 1024 | 2GB (2x1GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 1 | 606 | 606 | 424.2 | 39M5864 | MEM | 37876*37877*37878*37879 | UN | XS | Floor\Slot-Bay
39R8624 | 3 | IBM BladeCenter™ SFF Gigabit Ethernet Expansion Card | 0 | 231 |  |  | 39R8624 | OTH | 37883 | UN | XS | Floor
26R0890 |  | QLogic(R) 4Gb SFF Fibre Channel Expansion card for IBM eServer BladeCenter | 1 | 760 | 760 | 532 | 26R0890 | CAP | 37884 | UN | XS | Floor\Slot0
12X7051 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7971) | 0 | 160 |  |  | A027971 | SER | 37887 | UN | XS | Floor
12X7052 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7971) | 1 | 280 | 280 |  | A037971 | SER | 37888 | UN | XS | Floor
|  |  |  | Total | 4976 | 3287.2
|  | Total price = price blade + part (1/14) price of blade enclosure (without switches) |  |  |  | 3684.6

## LS21-2-10-VS
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
LS21 Blade Configuration_C |  | L21VDI 2-way 10GB RAM
Added 10/10/2006 15:32:57
79716AG | 7971-6AY | LS21, AMD Opteron Dual Core 2218 2.6GHz/1GHz, 1 MB L2, 2x1 GB, O/Bay SAS | 1 | 3330 | 3330 | 2331 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
25R8897 |  | AMD Opteron Dual Core Processor Model 2218 2.6GHz, 1MB L2 Cache, 95w | 1 | 1660 | 1660 | 1162 | 25R8897 | PRC | 37875 | UN | XS | Floor\Slot-Bay
39M5864 | 1024 | 2GB (2x1GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 4 | 606 | 2424 | 1696.8 | 39M5864 | MEM | 37876*37877*37878*37879 | UN | XS | Floor\Slot-Bay
39R8624 | 3 | IBM BladeCenter™ SFF Gigabit Ethernet Expansion Card | 0 | 231 |  |  | 39R8624 | OTH | 37883 | UN | XS | Floor
26R0890 |  | QLogic(R) 4Gb SFF Fibre Channel Expansion card for IBM eServer BladeCenter | 1 | 760 | 760 | 532 | 26R0890 | CAP | 37884 | UN | XS | Floor\Slot0
12X7051 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7971) | 0 | 160 |  |  | A027971 | SER | 37887 | UN | XS | Floor
12X7052 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7971) | 1 | 280 | 280 |  | A037971 | SER | 37888 | UN | XS | Floor
|  |  |  | Total | 8454 | 5721.8
|  | Total price = price blade + part (1/14) price of blade enclosure (without switches) |  |  |  | 6119.2

## LS21-2-10-VI
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
LS21 Blade Configuration_C |  | L21VDI 2-way 10GB RAM
Added 10/10/2006 15:32:57
79716AG | 7971-6AY | LS21, AMD Opteron Dual Core 2218 2.6GHz/1GHz, 1 MB L2, 2x1 GB, O/Bay SAS | 1 | 3330 | 3330 | 2331 | 79716AY | BLD | 37874 | UN | XS | Floor\Slot-Bay
25R8897 |  | AMD Opteron Dual Core Processor Model 2218 2.6GHz, 1MB L2 Cache, 95w | 1 | 1660 | 1660 | 1162 | 25R8897 | PRC | 37875 | UN | XS | Floor\Slot-Bay
39M5864 | 1024 | 2GB (2x1GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 4 | 606 | 2424 | 1696.8 | 39M5864 | MEM | 37876*37877*37878*37879 | UN | XS | Floor\Slot-Bay
39M5867 | 16 | 4GB (2x2GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 0 | 1570 |  |  | 39M5867 | MEM | 37897*37898*37899*37900*37901*37902*37903 | UN | XS | Floor\Slot-Bay
39R8624 | 3 | IBM BladeCenter™ SFF Gigabit Ethernet Expansion Card | 0 | 231 |  |  | 39R8624 | OTH | 37883 | UN | XS | Floor
26R0890 |  | QLogic(R) 4Gb SFF Fibre Channel Expansion card for IBM eServer BladeCenter | 1 | 760 | 760 | 532 | 26R0890 | CAP | 37884 | UN | XS | Floor\Slot0
12X7051 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7971) | 0 | 160 |  |  | A027971 | SER | 37887 | UN | XS | Floor
12X7052 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7971) | 1 | 280 | 280 |  | A037971 | SER | 37888 | UN | XS | Floor
|  |  |  | Total | 8454 | 5721.8
|  | Total price = price blade + part (1/14) price of blade enclosure (without switches) |  |  |  | 6119.2

## LS41-4-20-VS
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
LS41 Blade Configuration_C |  | L41 VDI 4-way 18GB RAM
Added 10/10/2006 15:36:07
79726AG | 7972-6AY | LS41, AMD Opteron Dual Core 8218 2.6GHz/1GHz, 1MB L2, 2x1GB, O/Bay SAS | 1 | 5270 | 5270 | 3689 | 79726AY | BLD | 37892 | UN | XS | Floor\Slot-Bay
25R8933 |  | AMD Opteron Dual Core Processor Model 8218 2.6GHz, 1MB L2 Cache, 95w | 3 | 3920 | 11760 | 8232 | 25R8933 | PRC | 37893*37894*37895 | UN | XS | Floor\Slot-Bay
39M5864 | 1024 | 2GB (2x1GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 0 | 606 |  |  | 39M5864 | MEM | 37896 | UN | XS | Floor\Slot-Bay
39M5867 | 16 | 4GB (2x2GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 4 | 1570 | 6280 | 4396 | 39M5867 | MEM | 37897*37898*37899*37900*37901*37902*37903 | UN | XS | Floor\Slot-Bay
26K5934 |  | AMD Opteron LS41 Multiprocessor Expansion Unit | 1 | 1650 | 1650 | 1155 | 26K5934 | OTH | 37904 | UN | XS | Floor
39R8624 | 2 | IBM BladeCenter™ SFF Gigabit Ethernet Expansion Card | 1 | 231 | 231 | 161.7 | 39R8624 | OTH | 37905 | UN | XS | Floor
26R0890 | 0 | QLogic(R) 4Gb SFF Fibre Channel Expansion card for IBM eServer BladeCenter | 1 | 760 | 760 | 532 | 26R0890 | CAP | 37906 | UN | XS | Floor\Slot0
12X7057 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7972) | 0 | 337 |  |  | A017972 | SER | 37907 | UN | XS | Floor
12X7058 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7972) | 1 | 703 | 703 |  | A027972 | SER | 37908 | UN | XS | Floor
|  |  |  | Total | 26654 | 18165.7
|  | Total price = price blade + part (2/14) price of blade enclosure (without switches) |  |  |  | 18960.5

## LS41-4-20-VI
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
LS41 Blade Configuration_C |  | L41 VDI 4-way 18GB RAM
Added 10/10/2006 15:36:07
79726AG | 7972-6AY | LS41, AMD Opteron Dual Core 8218 2.6GHz/1GHz, 1MB L2, 2x1GB, O/Bay SAS | 1 | 5270 | 5270 | 3689 | 79726AY | BLD | 37892 | UN | XS | Floor\Slot-Bay
25R8933 |  | AMD Opteron Dual Core Processor Model 8218 2.6GHz, 1MB L2 Cache, 95w | 3 | 3920 | 11760 | 8232 | 25R8933 | PRC | 37893*37894*37895 | UN | XS | Floor\Slot-Bay
39M5864 | 1024 | 2GB (2x1GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 0 | 606 |  |  | 39M5864 | MEM | 37896 | UN | XS | Floor\Slot-Bay
39M5867 | 16 | 4GB (2x2GB Kit) PC2-5300 DDR2 SDRAM VLP RDIMM | 4 | 1570 | 6280 | 4396 | 39M5867 | MEM | 37897*37898*37899*37900*37901*37902*37903 | UN | XS | Floor\Slot-Bay
26K5934 |  | AMD Opteron LS41 Multiprocessor Expansion Unit | 1 | 1650 | 1650 | 1155 | 26K5934 | OTH | 37904 | UN | XS | Floor
39R8624 | 2 | IBM BladeCenter™ SFF Gigabit Ethernet Expansion Card | 1 | 231 | 231 | 161.7 | 39R8624 | OTH | 37905 | UN | XS | Floor
26R0890 | 0 | QLogic(R) 4Gb SFF Fibre Channel Expansion card for IBM eServer BladeCenter | 1 | 760 | 760 | 532 | 26R0890 | CAP | 37906 | UN | XS | Floor\Slot0
12X7057 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7972) | 0 | 337 |  |  | A017972 | SER | 37907 | UN | XS | Floor
12X7058 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7972) | 1 | 703 | 703 |  | A027972 | SER | 37908 | UN | XS | Floor
|  |  |  | Total | 26654 | 18165.7
|  | Total price = price blade + part (2/14) price of blade enclosure (without switches) |  |  |  | 18960.5

## 3655-1-4
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
System x3655 Configuration_C |  | 3655 1-way VDI, 4GB RAM
Added 10/10/2006 16:34:20
79855AG | 7985-5AY | x3655, AMD Opteron Dual Core 2218 2.6GHz/1067MHz, 2MB L2, 2x512MB, O/Bay 3.5in HS SATA/SAS, SR-8ki, CD-RW/DVD, 835W p/s, Rack | 1 | 3220 | 3220 | 2254 | 79855AY | BOX | 37924 | UN | 1 | XS | Floor | Y | 4 | 0
40K1212 |  | Opteron Dual Core 2218 2.6GHz/1MBx2 | 0 | 1390 |  |  | 40K1212 | PRC | 37935 | UN |  | XS | Floor\Slot-Bay
41Y2759 | 1024 | 1 GB (2x512MB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 356 | 356 | 249.2 | 41Y2759 | MEM | 37925 | UN |  | XS | Floor\Slot-Bay
41Y2762 | 4 | 2 GB (2x1GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 753 | 753 | 527.1 | 41Y2762 | MEM | 37937 | UN |  | XS | Floor\Slot-Bay
40K7427 |  | PCI-X Riser Option Card | 1 | 185 | 185 | 129.5 | 40K7427 | CAP | 37926 | UN |  | XS | Floor\Slot0
39M5894 |  | DS4000 1-pt PCI-X 4 Gbps HBA | 2 | 1410 | 2820 | 1974 | 39M5894 | CAP | 38006 | UN |  | XS | Floor\Slot0
19K1249 |  | IBM 25M LC-LC Fibre Channel Cable | 2 | 126 | 252 | 176.4 | 19K1249 | CBL | 38000 | UN |  | XS | Floor\Slot-Bay
39Y9566 |  | Remote Supervisor Adapter II Slimline Refresh 1 | 1 | 236 | 236 | 165.2 | 39Y9566 | CAP | 37938 | UN |  | XS | Floor\Slot0
40K1906 |  | 835 Watt Hot-swap Power Supply Option (Non-US) | 1 | 267 | 267 | 186.9 | 40K1906 | PWR | 37927 | UN | 1 | XS | Floor\Slot-Bay
43X4096 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7985) | 1 | [5 empty] | 37929 | UN |  | XS | Floor\Slot-Bay
43X4095 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7985) | 0 | [5 empty] | 37933 | UN |  | XS | Floor\Slot-Bay
|  |  |  | Total | 8089 | 5662.3

## 3655-2-10-VC
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
System x3655 Configuration_C |  | 3655 2-way VDI, 10GB RAM
Added 10/10/2006 16:34:20
79855AG | 7985-5AY | x3655, AMD Opteron Dual Core 2218 2.6GHz/1067MHz, 2MB L2, 2x512MB, O/Bay 3.5in HS SATA/SAS, SR-8ki, CD-RW/DVD, 835W p/s, Rack | 1 | 3220 | 3220 | 2254 | 79855AY | BOX | 37924 | UN | 1 | XS | Floor | Y | 4 | 0
40K1212 |  | Opteron Dual Core 2218 2.6GHz/1MBx2 | 1 | 1390 | 1390 | 973 | 40K1212 | PRC | 37935 | UN |  | XS | Floor\Slot-Bay
41Y2759 | 1024 | 1 GB (2x512MB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 356 | 356 | 249.2 | 41Y2759 | MEM | 37925 | UN |  | XS | Floor\Slot-Bay
41Y2762 | 4 | 2 GB (2x1GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 3 | 753 | 2259 | 1581.3 | 41Y2762 | MEM | 37937 | UN |  | XS | Floor\Slot-Bay
40K7427 |  | PCI-X Riser Option Card | 1 | 185 | 185 | 129.5 | 40K7427 | CAP | 37926 | UN |  | XS | Floor\Slot0
39M5894 |  | DS4000 1-pt PCI-X 4 Gbps HBA | 2 | 1410 | 2820 | 1974 | 39M5894 | CAP | 38006 | UN |  | XS | Floor\Slot0
19K1249 |  | IBM 25M LC-LC Fibre Channel Cable | 2 | 126 | 252 | 176.4 | 19K1249 | CBL | 38000 | UN |  | XS | Floor\Slot-Bay
39Y9566 |  | Remote Supervisor Adapter II Slimline Refresh 1 | 1 | 236 | 236 | 165.2 | 39Y9566 | CAP | 37938 | UN |  | XS | Floor\Slot0
40K1906 |  | 835 Watt Hot-swap Power Supply Option (Non-US) | 1 | 267 | 267 | 186.9 | 40K1906 | PWR | 37927 | UN | 1 | XS | Floor\Slot-Bay
43X4096 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7985) | 1 | [5 empty] | 37929 | UN |  | XS | Floor\Slot-Bay
43X4095 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7985) | 0 | [5 empty] | 37933 | UN |  | XS | Floor\Slot-Bay
|  |  |  | Total | 10985 | 7689.5

## 3655-2-10-VI
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
System x3655 Configuration_C |  | 3655 2-way VDI, 10GB RAM
Added 10/10/2006 16:34:20
79855AG | 7985-5AY | x3655, AMD Opteron Dual Core 2218 2.6GHz/1067MHz, 2MB L2, 2x512MB, O/Bay 3.5in HS SATA/SAS, SR-8ki, CD-RW/DVD, 835W p/s, Rack | 1 | 3220 | 3220 | 2254 | 79855AY | BOX | 37924 | UN | 1 | XS | Floor | Y | 4 | 0
40K1212 |  | Opteron Dual Core 2218 2.6GHz/1MBx2 | 1 | 1390 | 1390 | 973 | 40K1212 | PRC | 37935 | UN |  | XS | Floor\Slot-Bay
41Y2759 | 1024 | 1 GB (2x512MB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 356 | 356 | 249.2 | 41Y2759 | MEM | 37925 | UN |  | XS | Floor\Slot-Bay
41Y2762 | 4 | 2 GB (2x1GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 3 | 753 | 2259 | 1581.3 | 41Y2762 | MEM | 37937 | UN |  | XS | Floor\Slot-Bay
40K7427 |  | PCI-X Riser Option Card | 1 | 185 | 185 | 129.5 | 40K7427 | CAP | 37926 | UN |  | XS | Floor\Slot0
39M5894 |  | DS4000 1-pt PCI-X 4 Gbps HBA | 2 | 1410 | 2820 | 1974 | 39M5894 | CAP | 38006 | UN |  | XS | Floor\Slot0
19K1249 |  | IBM 25M LC-LC Fibre Channel Cable | 2 | 126 | 252 | 176.4 | 19K1249 | CBL | 38000 | UN |  | XS | Floor\Slot-Bay
39Y9566 |  | Remote Supervisor Adapter II Slimline Refresh 1 | 1 | 236 | 236 | 165.2 | 39Y9566 | CAP | 37938 | UN |  | XS | Floor\Slot0
40K1906 |  | 835 Watt Hot-swap Power Supply Option (Non-US) | 1 | 267 | 267 | 186.9 | 40K1906 | PWR | 37927 | UN | 1 | XS | Floor\Slot-Bay
43X4096 |  | 3 Year Onsite Repair 24x7 4 Hour Response (7985) | 1 | [5 empty] | 37929 | UN |  | XS | Floor\Slot-Bay
43X4095 |  | 3 Year Onsite Repair 9x5 4 Hour Response (7985) | 0 | [5 empty] | 37933 | UN |  | XS | Floor\Slot-Bay
|  |  |  | Total | 10985 | 7689.5

## 3755-4-20-VC
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
System x3755 Configuration_C |  | 3755 4-way VDI 18GB
Added 10/10/2006 16:49:30
88774RG | 8877-4RY | x3755, Opteron Dual Core 2x8218 2.6 GHz, 2MB L2, 4x1GB, O/Bay SAS, SR 8K-I, CD-RW/DVD, HS 1500W p/s, Rack | 1 | 11500 | 11500 | 8050 | 88774RY | BOX | 37963 | UN | 1 | XS | Floor | N | 6 | 0
40K1202 |  | Dual Core Opteron 8218 2.6 GHz, 1 MB L2, 95w | 2 | 4320 | 8640 | 6048 | 40K1202 | PRC | 37964*37965 | UN |  | XS | Floor\Slot-Bay
40K7547 |  | Processor Pass-thru card | 1 | 157 | 157 | 109.9 | 40K7547 | CAP | 37966 | UN |  | XS | Floor\Slot0
40K7545 |  | Redundant Fan Kit | 1 | 78 | 78 | 54.6 | 40K7543 | OTH | 37967 | UN |  | XS | Floor
41Y2762 | 4096 | 2 GB (2x1GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 753 | 753 | 527.1 | 41Y2762 | MEM | 37968*37969 | UN |  | XS | Floor\Slot-Bay
41Y2765 | 14 | 4 GB (2x2GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 3 | 1400 | 4200 | 2940 | 41Y2765 | MEM | 37985*37986*37987*37988*37989*37990 | UN |  | XS | Floor\Slot-Bay
39M5894 |  | DS4000 1-pt PCI-X 4 Gbps HBA | 2 | 1410 | 2820 | 1974 | 39M5894 | CAP | 38006 | UN |  | XS | Floor\Slot0
19K1249 |  | IBM 25M LC-LC Fibre Channel Cable | 2 | 126 | 252 | 176.4 | 19K1249 | CBL | 38000 | UN |  | XS | Floor\Slot-Bay
39Y6093 |  | NetXtreme 1000 T+ Dual-Port PCI-X 1GbE | 1 | 232 | 232 | 162.4 | 39Y6093 | CAP | 37970 | UN |  | XS | Floor\Slot1
39Y9566 |  | Remote Supervisor Adapter II Slimline Refresh 1 | 1 | 236 | 236 | 165.2 | 39Y9566 | CAP | 37971 | UN |  | XS | Floor\Slot2
40K7544 |  | 1500W power supply | 1 | 258 | 258 | 180.6 | 40K7544 | PWR | 37972 | UN | 1 | XS | Floor\Slot-Bay
12X7151 |  | 3 Year Onsite Repair 12x7 4 Hour Response (8877) | 1 | 1290 | 1290 |  | A048877 | SER | 37973 | UN |  | XS | Floor
12X7150 |  | 3 Year Onsite Repair 9x5 4 Hour Response (8877) | 0 | 719 |  |  | A098877 | SER | 37978 | UN |  | XS | Floor
|  |  |  | Total | 30416 | 20388.2

## 3755-4-20-VI
IBM Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) | (quantity x unit price)
|  |  |  | Euro | Euro | Euro
System x3755 Configuration_C |  | 3755 4-way VDI 18GB
Added 10/10/2006 16:51:38
88774RG | 8877-4RY | x3755, Opteron Dual Core 2x8218 2.6 GHz, 2MB L2, 4x1GB, O/Bay SAS, SR 8K-I, CD-RW/DVD, HS 1500W p/s, Rack | 1 | 11500 | 11500 | 8050 | 88774RY | BOX | 37979 | UN | 1 | XS | Floor | N | 6 | 0
40K1202 |  | Dual Core Opteron 8218 2.6 GHz, 1 MB L2, 95w | 2 | 4320 | 8640 | 6048 | 40K1202 | PRC | 37980*37981 | UN |  | XS | Floor\Slot-Bay
40K7547 |  | Processor Pass-thru card | 1 | 157 | 157 | 109.9 | 40K7547 | CAP | 37982 | UN |  | XS | Floor\Slot0
40K7545 |  | Redundant Fan Kit | 1 | 78 | 78 | 54.6 | 40K7543 | OTH | 37983 | UN |  | XS | Floor
41Y2762 | 4096 | 2 GB (2x1GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 1 | 753 | 753 | 527.1 | 41Y2762 | MEM | 37984 | UN |  | XS | Floor\Slot-Bay
41Y2765 | 14 | 4 GB (2x2GB Kit) PC5300 667 MHz ECC DDR SDRAM RDIMM | 3 | 1400 | 4200 | 2940 | 41Y2765 | MEM | 37985*37986*37987*37988*37989*37990 | UN |  | XS | Floor\Slot-Bay
39M5894 |  | DS4000 1-pt PCI-X 4 Gbps HBA | 2 | 1410 | 2820 | 1974 | 39M5894 | CAP | 38006 | UN |  | XS | Floor\Slot0
19K1249 |  | IBM 25M LC-LC Fibre Channel Cable | 2 | 126 | 252 | 176.4 | 19K1249 | CBL | 38000 | UN |  | XS | Floor\Slot-Bay
39Y6093 |  | NetXtreme 1000 T+ Dual-Port PCI-X 1GbE | 1 | 232 | 232 | 162.4 | 39Y6093 | CAP | 37991 | UN |  | XS | Floor\Slot1
39Y9566 |  | Remote Supervisor Adapter II Slimline Refresh 1 | 1 | 236 | 236 | 165.2 | 39Y9566 | CAP | 37992 | UN |  | XS | Floor\Slot2
40K7544 |  | 1500W power supply | 1 | 258 | 258 | 180.6 | 40K7544 | PWR | 37993 | UN | 1 | XS | Floor\Slot-Bay
12X7151 |  | 3 Year Onsite Repair 12x7 4 Hour Response (8877) | 1 | 1290 | 1290 |  | A048877 | SER | 37994 | UN |  | XS | Floor
12X7150 |  | 3 Year Onsite Repair 9x5 4 Hour Response (8877) | 0 | 719 |  |  | A098877 | SER | 37999 | UN |  | XS | Floor
|  |  |  | Total | 30416 | 20388.2

## Bladecenter H
IBM xSeries Servers and IntelliStation Quote
|  | Prepared for: | Prepared by: |  |  | danny.roefflaer@irislink.com
8 |  | Your final configuration may contain hardware, software, and services; therefore, accounting implications need to be taken into consideration. A bottom line price for the package/bundle should only be presented with accounting approval. |  | Price File Date: 4 October 2006 |  | Price File Date: 4 October 2006
Part No. |  | Description | Qty | IBM Estimated Selling Price | IBM Estimated Selling Price |  | Adjusted price | Adjusted price
|  |  |  | (per unit) | (quantity x unit price) |  | (per unit) | (quantity x unit price)
|  |  |  | Euro | Euro |  | Euro | Euro
BladeCenter H Configuration_C |  | De Post BladeCenter H, 2 Advanced Management modules and 4 Power modules with fan packs
Added 09/10/2006 17:08:58
88524XG | 8852-4XY | IBM BladeCenter™ H Chassis with 2x2900W Power Supplies | 1 | 5283 | 5283 |  | 3698.1 | 3698.1 | 88524XY | BOX | 37851 | UN | XS | Floor | N | 0 | 0
25R5778 |  | IBM BladeCenter™ Advanced Management Module | 1 | 1073 | 1073 |  | 751.1 | 751.1 | 25R5778 | MOD | 37852 | UN | XS | Floor\M0
31R3335 |  | IBM BladeCenter™ H 2900W AC Power Module Pair with Fan Packs | 1 | 1289 | 1289 |  | 902.3 | 902.3 | 31R3335 | OTH | 37853 | UN | XS | Floor
25R5784 |  | IBM BladeCenter™ H Dual 32A IEC 309 P+N+G/16A IEC 320-C20 (230V) 4.3 M | 1 | 303 | 303 |  | 212.1 | 212.1 | 25R5784 | OTH | 37854 | UN | XS | Floor
42V0923 |  | 3 Year Onsite Repair 24x7 4 Hour Response (8852) | 1 | 1200 | 1200 |  | 840 |  | A238852 | SER | 37855 | UN | XS | Floor
|  |  |  | Total | 9148 |  |  | 5563.6

## P-SA switches
Total Power (W) Calculated for one Rackmounted System x
TRADITIONAL RACKMOUNTED TECHNOLOGY
|  | RAM | Description | Total Power for switches
Non-virtualized achitecture:
| 1-way DC | 2GB | 2 x eNet + 2 x FC | 18.4286
| 2-way DC | 4GB | 2 x eNet + 2 x FC | 18.4286
| 4-way DC | 8GB | 4 x eNet + 2 x FC | 29.1429
Virtualized achitecture:
| 2-way DC | 14GB | 2 x eNet + 2 x FC | 18.4286
| 4-way DC | 30GB | 4 x eNet + 2 x FC | 29.1429
For comparison reasons
only 14 ports per switch used for servers (rest is for uplinks to core switches)
|  |  |  | Max Watt | Watt Per port
IBM TotalStorage SAN16B-2
Power Device Power supply
Voltage Required AC 120/230 V ( 50/60 Hz )
| Power Consumption Operational 54 Watt |  |  | 54 | 3.8571
Catalyst 2960g Switch 20x 10/100/1000 Gbit Enet 4x Dual Purpose Gbit Enet Uplink 1x Sfp Gbit Enet
Power Device Power supply
Voltage Required AC 120/230 V ( 50/60 Hz )
| Power Consumption Operational 75 Watt |  |  | 75 | 5.3571

## P-LS21-1-2
Calculated for one LS 21 (divided by 14) | [6 empty] | MAX
| Based on system(s) running at: |  |  |  |  | IDLE | MEASURED
Power (W): | [5 empty] | 123.9286 | 192.7857
BTU/HR: | [5 empty] | 422.5714 | 657.3571
[8 empty] | Maximum | Measured |  | Rated
[7 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  |  | Power | Power | Current |  | Power
1 |  |  | Blade Center - a |  |  |  | 1735 W | 2699 W | 11,8 A |  | 9600 W
|  |  |  | Domain 1 |  |  | 867 W | 1350 W | 5,9 A |  | 4800 W
|  |  |  | Domain 2 |  |  | 867 W | 1350 W | 5,9 A |  | 4800 W
| 1 |  |  |  | IBM BladeCenter H Chassis
Power Supplies for Blades 1-7: 2 x BCH 2900 W & Blades 8-14: 2 x BCH 2900 W
2 Management Module(s)
(2) Cisco Systems® Intelligent Gigabit Ethernet Switch Module
(2) Brocade® 20 port SAN Switch Module
| 14 |  |  |  | LS21 (7971)
(1) 2.6GHz Opteron 2218 - 95W
(2) 1024 MB Dimm(s)
(1) Qlogic™ 4GB Fibre Channel Expansion Card for IBM BladeCenter - SFF
Power Estimates for Total Configuration
| Date & Time: | [5 empty] | 31/10/2006 11:21:11
| Country: | [5 empty] | Belgium
| Voltage: | [5 empty] | 230 V
[8 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  |  | IDLE | MEASURED |  | MAX
| Power: | [5 empty] | 1735 W | 2699 W |  | 9600 W
| Input Current: | [5 empty] | 7,5 A | 11,7 A |  | 48 A
| BTU/HR: | [5 empty] | 5916 BTU/Hr | 9203 BTU/Hr |  | 32736 BTU/Hr
| CFM: | [5 empty] | 430 CFM | 820 CFM |  | 820 CFM
| VA Rating: | [5 empty] | 1770 VA | 2754 VA |  | 9796 VA
| Leakage Current: | [5 empty] | 30 mA | 30 mA |  | 30 mA
| Peak Inrush Current (4ms): | [5 empty] | 200 A | 200 A |  | 200 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-LS21-2-4
Calculated for one LS 21 (divided by 14) | [6 empty] | MAX
| Based on system(s) running at: |  |  |  |  | IDLE | MEASURED
Power (W): | [5 empty] | 213.3571 | 320.8571
BTU/HR: | [5 empty] | 727.5714 | 1094.1429
Maximum
[8 empty] | Maximum | Measured |  | Rated
[7 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  |  | Power | Power | Current |  | Power
1 |  |  | Blade Center - a |  |  |  | 2987 W | 4492 W | 19,6 A |  | 9600 W
|  |  |  | Domain 1 |  |  | 1493 W | 2247 W | 9,8 A |  | 4800 W
|  |  |  | Domain 2 |  |  | 1493 W | 2247 W | 9,8 A |  | 4800 W
| 1 |  |  |  | IBM BladeCenter H Chassis
Power Supplies for Blades 1-7: 2 x BCH 2900 W & Blades 8-14: 2 x BCH 2900 W
2 Management Module(s)
(2) Cisco Systems® Intelligent Gigabit Ethernet Switch Module
(2) McDATA® 20-port 4Gb Fibre Channel Switch Module
| 14 |  |  |  | LS21 (7971)
(2) 2.6GHz Opteron 2218 - 95W
(4) 1024 MB Dimm(s)
(1) Qlogic™ 4GB Fibre Channel Expansion Card for IBM BladeCenter - SFF
Power Estimates for Total Configuration
| Date & Time: | [5 empty] | 31/10/2006 11:26:06
| Country: | [5 empty] | Belgium
| Voltage: | [5 empty] | 230 V
[8 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  |  | IDLE | MEASURED |  | MAX
| Power: | [5 empty] | 2987 W | 4492 W |  | 9600 W
| Input Current: | [5 empty] | 13 A | 19,5 A |  | 48 A
| BTU/HR: | [5 empty] | 10186 BTU/Hr | 15318 BTU/Hr |  | 32736 BTU/Hr
| CFM: | [5 empty] | 430 CFM | 820 CFM |  | 820 CFM
| VA Rating: | [5 empty] | 3048 VA | 4584 VA |  | 9796 VA
| Leakage Current: | [5 empty] | 30 mA | 30 mA |  | 30 mA
| Peak Inrush Current (4ms): | [5 empty] | 200 A | 200 A |  | 200 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-LS21-2-14
Calculated for one LS 21 (divided by 14) | [6 empty] | MAX
| Based on system(s) running at: |  |  |  |  | IDLE | MEASURED
Power (W): | [5 empty] | 225.2857 | 338.3571
BTU/HR: | [5 empty] | 768.2143 | 1153.7143
Maximum
[8 empty] | Maximum | Measured |  | Rated
[7 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  |  | Power | Power | Current |  | Power
1 |  |  | Blade Center - a |  |  |  | 3154 W | 4737 W | 20,6 A |  | 9600 W
|  |  |  | Domain 1 |  |  | 1577 W | 2369 W | 10,3 A |  | 4800 W
|  |  |  | Domain 2 |  |  | 1577 W | 2369 W | 10,3 A |  | 4800 W
| 1 |  |  |  | IBM BladeCenter H Chassis
Power Supplies for Blades 1-7: 2 x BCH 2900 W & Blades 8-14: 2 x BCH 2900 W
2 Management Module(s)
(2) Cisco Systems® Intelligent Gigabit Ethernet Switch Module
(2) Brocade® 20 port SAN Switch Module
| 14 |  |  |  | LS21 (7971)
(2) 2.6GHz Opteron 2218 - 95W
(2) 1024 MB Dimm(s)
(6) 2048 MB Dimm(s)
(1) Qlogic™ 4GB Fibre Channel Expansion Card for IBM BladeCenter - SFF
Power Estimates for Total Configuration
| Date & Time: | [5 empty] | 31/10/2006 11:30:55
| Country: | [5 empty] | Belgium
| Voltage: | [5 empty] | 230 V
[8 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  |  | IDLE | MEASURED |  | MAX
| Power: | [5 empty] | 3154 W | 4737 W |  | 9600 W
| Input Current: | [5 empty] | 13,7 A | 20,6 A |  | 48 A
| BTU/HR: | [5 empty] | 10755 BTU/Hr | 16152 BTU/Hr |  | 32736 BTU/Hr
| CFM: | [5 empty] | 430 CFM | 820 CFM |  | 820 CFM
| VA Rating: | [5 empty] | 3218 VA | 4833 VA |  | 9796 VA
| Leakage Current: | [5 empty] | 30 mA | 30 mA |  | 30 mA
| Peak Inrush Current (4ms): | [5 empty] | 200 A | 200 A |  | 200 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-LS41-4-8
Calculated for one LS 41 (divided by 7) | [6 empty] | MAX
| Based on system(s) running at: |  |  |  |  | IDLE | MEASURED
Power (W): | [5 empty] | 388 | 590.2857
BTU/HR: | [5 empty] | 1323.1429 | 2013.1429
Maximum
[8 empty] | Maximum | Measured |  | Rated
[7 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  |  | Power | Power | Current |  | Power
1 |  |  | Blade Center - a |  |  |  | 2716 W | 4132 W | 18 A |  | 5400 W
|  |  |  | Domain 1 |  |  | 1164 W | 1917 W | 8,3 A |  | 2700 W
|  |  |  | Domain 2 |  |  | 1552 W | 2216 W | 9,6 A |  | 2700 W
| 1 |  |  |  | IBM BladeCenter Chassis
Power Supplies for Blades 1-6: 2x 2000 W & Blades 7-14: 2x 2000 W
2 Management Module(s)
(2) Cisco Systems® Intelligent Gigabit Ethernet Switch Module
(2) McDATA® 20-port 4Gb Fibre Channel Switch Module
| 7 |  |  |  | LS41 (7972)
(4) 2.6GHz Opteron 8218 - 95W
(8) 1024 MB Dimm(s)
(1) Qlogic™ 4GB Fibre Channel Expansion Card for IBM BladeCenter - SFF
Power Estimates for Total Configuration
| Date & Time: | [5 empty] | 31/10/2006 15:47:34
| Country: | [5 empty] | Belgium
| Voltage: | [5 empty] | 230 V
[8 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  |  | IDLE | MEASURED |  | MAX
| Power: | [5 empty] | 2716 W | 4132 W |  | 5400 W
| Input Current: | [5 empty] | 11,8 A | 18 A |  | 27 A
| BTU/HR: | [5 empty] | 9262 BTU/Hr | 14092 BTU/Hr |  | 18414 BTU/Hr
| CFM: | [5 empty] | 255 CFM | 455 CFM |  | 455 CFM
| VA Rating: | [5 empty] | 2771 VA | 4217 VA |  | 5510 VA
| Leakage Current: | [5 empty] | 30 mA | 30 mA |  | 30 mA
| Peak Inrush Current (4ms): | [5 empty] | 200 A | 200 A |  | 200 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-LS41-4-30
Calculated for one LS 41 (divided by 7) | [6 empty] | MAX
| Based on system(s) running at: |  |  |  |  | IDLE | MEASURED
Power (W): | [5 empty] | 430.1429 | 629.7143
BTU/HR: | [5 empty] | 1466.8571 | 2147.2857
Maximum
[8 empty] | Maximum | Measured |  | Rated
[7 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  |  | Power | Power | Current |  | Power
1 |  |  | Blade Center - d |  |  |  | 3011 W | 4408 W | 19,1 A |  | 5400 W
|  |  |  | Domain 1 |  |  | 1353 W | 2042 W | 8,9 A |  | 2700 W
|  |  |  | Domain 2 |  |  | 1658 W | 2367 W | 10,3 A |  | 2700 W
| 1 |  |  |  | IBM BladeCenter Chassis
Power Supplies for Blades 1-6: 2x 2000 W & Blades 7-14: 2x 2000 W
2 Management Module(s)
(2) Cisco Systems® Intelligent Gigabit Ethernet Switch Module
(2) Brocade® 20 port SAN Switch Module
| 7 |  |  |  | LS41 (7972)
(4) 2.6GHz Opteron 8218 - 95W
(2) 1024 MB Dimm(s)
(14) 2048 MB Dimm(s)
(1) IBM BladeCenter Gigabit Ethernet Expansion Card - SFF
(1) Qlogic™ 4GB Fibre Channel Expansion Card for IBM BladeCenter - SFF
Power Estimates for Total Configuration
| Date & Time: | [5 empty] | 31/10/2006 16:00:34
| Country: | [5 empty] | Belgium
| Voltage: | [5 empty] | 230 V
[8 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  |  | IDLE | MEASURED |  | MAX
| Power: | [5 empty] | 3011 W | 4408 W |  | 5400 W
| Input Current: | [5 empty] | 13,1 A | 19,2 A |  | 27 A
| BTU/HR: | [5 empty] | 10268 BTU/Hr | 15031 BTU/Hr |  | 18414 BTU/Hr
| CFM: | [5 empty] | 255 CFM | 455 CFM |  | 455 CFM
| VA Rating: | [5 empty] | 3072 VA | 4498 VA |  | 5510 VA
| Leakage Current: | [5 empty] | 30 mA | 30 mA |  | 30 mA
| Peak Inrush Current (4ms): | [5 empty] | 200 A | 200 A |  | 200 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-3655-1-2
Power Corrected by adding "cost" of power SA switches! | [5 empty] | MAX
| Based on system(s) running at: |  |  |  | IDLE | MEASURED
Power (W): |  |  |  |  | 187.4286 | 306.4286
BTU/HR: |  |  |  |  | 576 | 982
Maximum
[7 empty] | Maximum | Measured |  | Rated
[6 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  | Power | Power | Current |  | Power
1 |  |  | System x3655 |  |  | 169 W | 288 W | 1,3 A |  | 970 W
(1) AMD Dual Core Opteron 2000 2.6GHz
2 x 835 W Hot-Swap
(2) 1024 MB Dimm(s)
(12) No Hard Disk
(2) IBM SMB 2-Gbps Fibre Channel HBA
Power Estimates for Total Configuration
| Date & Time: |  |  |  |  | 04/11/2006 10:37:50
| Country: |  |  |  |  | Belgium
| Voltage: |  |  |  |  | 230 V
[7 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  | IDLE | MEASURED |  | MAX
| Power: |  |  |  |  | 169 W | 288 W |  | 970 W
| Input Current: |  |  |  |  | 0,7 A | 1,3 A |  | 4,8 A
| BTU/HR: |  |  |  |  | 576 BTU/Hr | 982 BTU/Hr |  | 3308 BTU/Hr
| CFM: |  |  |  |  | 78 CFM | 130 CFM |  | 130 CFM
| VA Rating: |  |  |  |  | 172 VA | 294 VA |  | 990 VA
| Leakage Current: |  |  |  |  | 0,94 mA | 0,94 mA |  | 0,94 mA
| Peak Inrush Current (4ms): |  |  |  |  | 60 A | 60 A |  | 60 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-3655-2-4
Power Corrected by adding "cost" of power SA switches! | [5 empty] | MAX
| Based on system(s) running at: |  |  |  | IDLE | MEASURED
Power (W): |  |  |  |  | 253.4286 | 419.4286
BTU/HR: |  |  |  |  | 801 | 1369
Maximum
[7 empty] | Maximum | Measured |  | Rated
[6 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  | Power | Power | Current |  | Power
1 |  |  | System x3655 |  |  | 235 W | 401 W | 1,7 A |  | 970 W
(2) AMD Dual Core Opteron 2000 2.6GHz
2 x 835 W Hot-Swap
(4) 1024 MB Dimm(s)
(12) No Hard Disk
(2) IBM SMB 2-Gbps Fibre Channel HBA
Power Estimates for Total Configuration
| Date & Time: |  |  |  |  | 04/11/2006 10:39:13
| Country: |  |  |  |  | Belgium
| Voltage: |  |  |  |  | 230 V
[7 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  | IDLE | MEASURED |  | MAX
| Power: |  |  |  |  | 235 W | 401 W |  | 970 W
| Input Current: |  |  |  |  | 1 A | 1,7 A |  | 4,8 A
| BTU/HR: |  |  |  |  | 801 BTU/Hr | 1369 BTU/Hr |  | 3308 BTU/Hr
| CFM: |  |  |  |  | 78 CFM | 130 CFM |  | 130 CFM
| VA Rating: |  |  |  |  | 240 VA | 410 VA |  | 990 VA
| Leakage Current: |  |  |  |  | 0,94 mA | 0,94 mA |  | 0,94 mA
| Peak Inrush Current (4ms): |  |  |  |  | 60 A | 60 A |  | 60 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-3655-2-14
Power Corrected by adding "cost" of power SA switches! | [5 empty] | MAX
| Based on system(s) running at: |  |  |  | IDLE | MEASURED
Power (W): |  |  |  |  | 269.4286 | 447.4286
BTU/HR: |  |  |  |  | 798 | 1362
Maximum
[7 empty] | Maximum | Measured |  | Rated
[6 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  | Power | Power | Current |  | Power
1 |  |  | System x3655 |  |  | 251 W | 429 W | 1,9 A |  | 970 W
(2) AMD Dual Core Opteron 2000 2.6GHz
2 x 835 W Hot-Swap
(4) 512 MB Dimm(s)
(12) 1024 MB Dimm(s)
(12) No Hard Disk
(2) IBM SMB 2-Gbps Fibre Channel HBA
Power Estimates for Total Configuration
| Date & Time: |  |  |  |  | 04/11/2006 10:43:50
| Country: |  |  |  |  | Belgium
| Voltage: |  |  |  |  | 230 V
[7 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  | IDLE | MEASURED |  | MAX
| Power: |  |  |  |  | 251 W | 429 W |  | 970 W
| Input Current: |  |  |  |  | 1,1 A | 1,9 A |  | 4,8 A
| BTU/HR: |  |  |  |  | 856 BTU/Hr | 1462 BTU/Hr |  | 3308 BTU/Hr
| CFM: |  |  |  |  | 78 CFM | 130 CFM |  | 130 CFM
| VA Rating: |  |  |  |  | 256 VA | 437 VA |  | 990 VA
| Leakage Current: |  |  |  |  | 0,94 mA | 0,94 mA |  | 0,94 mA
| Peak Inrush Current (4ms): |  |  |  |  | 60 A | 60 A |  | 60 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-3755-4-8
Power Corrected by adding "cost" of power SA switches! | [5 empty] | MAX
| Based on system(s) running at: |  |  |  | IDLE | MEASURED
Power (W): |  |  |  |  | 503.1429 | 669.1429
BTU/HR: |  |  |  |  | 1616 | 2183
Maximum
[7 empty] | Maximum | Measured |  | Rated
[6 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  | Power | Power | Current |  | Power
1 |  |  | System x3755 |  |  | 474 W | 640 W | 2,8 A |  | 1760 W
(4) AMD Dual Core Opteron 8218 2.6GHz
2 x 1500 W Hot-Swap
(8) 1024 MB Dimm(s)
(1) No Hard Disk
(1) 1000Base-SX Gigabit Ethernet Dual Port PCIe Adapter
(2) Qlogic™ SANBlade Single Port 4GBps FC to PCIe HBA
Power Estimates for Total Configuration
| Date & Time: |  |  |  |  | 04/11/2006 10:47:15
| Country: |  |  |  |  | Belgium
| Voltage: |  |  |  |  | 230 V
[7 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  | IDLE | MEASURED |  | MAX
| Power: |  |  |  |  | 474 W | 640 W |  | 1760 W
| Input Current: |  |  |  |  | 2,1 A | 2,8 A |  | 8,8 A
| BTU/HR: |  |  |  |  | 1616 BTU/Hr | 2183 BTU/Hr |  | 6002 BTU/Hr
| CFM: |  |  |  |  | 150 CFM | 385 CFM |  | 385 CFM
| VA Rating: |  |  |  |  | 484 VA | 653 VA |  | 1796 VA
| Leakage Current: |  |  |  |  | 0,94 mA | 0,94 mA |  | 0,94 mA
| Peak Inrush Current (4ms): |  |  |  |  | 80 A | 80 A |  | 80 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!

## P-3755-4-30
Power Corrected by adding "cost" of power SA switches! | [5 empty] | MAX
| Based on system(s) running at: |  |  |  | IDLE | MEASURED
Power (W): |  |  |  |  | 531.1429 | 708.1429
BTU/HR: |  |  |  |  | 1712 | 2315
Maximum
[7 empty] | Maximum | Measured |  | Rated
[6 empty] | Idle | Measured | Input |  | System
Quantity |  |  | Description |  |  | Power | Power | Current |  | Power
1 |  |  | System x3755 |  |  | 502 W | 679 W | 3 A |  | 1760 W
(4) AMD Dual Core Opteron 8218 2.6GHz
2 x 1500 W Hot-Swap
(6) 1024 MB Dimm(s)
(12) 2048 MB Dimm(s)
(1) No Hard Disk
(1) 1000Base-SX Gigabit Ethernet Dual Port PCIe Adapter
(2) Qlogic™ SANBlade Single Port 4GBps FC to PCIe HBA
Power Estimates for Total Configuration
| Date & Time: |  |  |  |  | 04/11/2006 10:50:21
| Country: |  |  |  |  | Belgium
| Voltage: |  |  |  |  | 230 V
[7 empty] | MAX |  | SYSTEM
|  | Based on system(s) running at: |  |  |  | IDLE | MEASURED |  | MAX
| Power: |  |  |  |  | 502 W | 679 W |  | 1760 W
| Input Current: |  |  |  |  | 2,2 A | 3 A |  | 8,8 A
| BTU/HR: |  |  |  |  | 1712 BTU/Hr | 2315 BTU/Hr |  | 6002 BTU/Hr
| CFM: |  |  |  |  | 150 CFM | 385 CFM |  | 385 CFM
| VA Rating: |  |  |  |  | 512 VA | 693 VA |  | 1796 VA
| Leakage Current: |  |  |  |  | 0,94 mA | 0,94 mA |  | 0,94 mA
| Peak Inrush Current (4ms): |  |  |  |  | 80 A | 80 A |  | 80 A
Current Program Version: v4.4.2.1 - 12 August, 2006
***THESE NUMBERS ARE MEASURED DURING TESTS AT 25ºC AMBIENT TEMP AND YOUR RESULTS MAY VARY***
ELECTRICAL CODES AND REGULATIONS SPECIFY THAT ALL ELECTRICAL EQUIPMENT SHALL
BE USED IN ACCORDANCE WITH LISTING AND LABELING REQUIREMENTS. REFER TO THE
SYSTEM INFORMATION LABEL TO VERIFY THE RATING OF THE EQUIPMENT.
(electrical service must be wired according to the system rating label, not the measured current)
THESE NUMBERS ARE FOR DETERMINING TOTAL OPERATIONAL COSTS ONLY!!!